|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) Office of Dy. General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149 FAX No.23221012 |
| --- | --- |
| No. F./DTL/207 /DGM(SO)/10-11/236 | Dated : 16.09.2010 |

Subject  : 	Minutes of the Meeting held on 08.09.10 at 3.00 PM at SLDC for resolving scheduling and other related issues of Bawana CCGT Station and upcoming 108MW Rithala Power Station in NDPL area.

Dear Sir,   /  महोदय

The Minutes of the Meeting held on 19.08.2010 at SLDC with regard to Scheduling and other related issues of Bawana 1500MW CCGT is enclosed for ready reference and further necessary action please.

It is also available in SLDC website www.delhisldc.org at Meeting Portal.

Thanking you,

भवदीय   /  Yours faithfully

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

List of addresses

- Executive Director (T), Delhi Transco Limited, Shakti Deep Bldg. Jhandewallan, New Delhi-110055

- General Manager (O&M),Delhi Transco Ltd.,Parkstreet, 220kV S/Stn.,New Delhi

- General Manager, Badarpur Thermal Power Stn., Badarpur, New Delhi-44

- General Manager (Commercial), DTL

- General Manager, RPH

- General Manager, G.T. Station

- General Manager, Pragati Station

- CWE (Utilities), MES, Delhi Cantt., ND-10

- Addl. Vice President, System Operation, BSES, Balaji Estate, Kalkaji, New Delhi

- Sh. V. K. Gupta, Chief Engineer (SO&C), Punjab SLDC, PSTCL, SLDC Complex, Near 220kV Grid S/Stn. Ablowal, Patiala, Punjab-147001

- Chief Engineer (System Operation), Haryana SLDC, HVPNL, Shakti Bhawan, Sector-6, Panchkula-130109

- Chief Engineer (Electrical-1), NDMC, Palika Kendra, New Delhi-1

- Chief Engineer (Electrical -2), NDMC, Palika Kendra, New Delhi -1

- Chief Engineer, Haryana Power Procurement Center, Panchkula, Haryana, Fax no. 0172-3019169.

- Director (Comml.), NDMC, Palika Kendra, New Delhi-1

- Sh. Pillai Ramachandaran, HoD (PSC, AM&DP), NDPL, Shakti Nagar, Nangia Park, Delhi

- Sh. Chander Mohan, Vice President & Head (Network Operation), BRPL, BSES Bhawan Nehru Place, New Delhi-19

- Sh. Ajay Kumar, Addl. Vice President (PP&PMG), BRPL, Bldg. No. 20, Nehru Place, New Delhi-110019

- General Manager (PP&CC), NDPL, Corporate Office, 3rd Floor, Sub-Station Building, Hudson Lines, Kingsway Camp, Delhi-110019

- Sh. Sunil Kakkar,  Addl. Vice President (PMG), BSES Yamuna Power Ltd., Shakti Kiran Building, Karkardooma, Delhi 110092

- Sh. Sanjay Srivastava, AVP (PMG), BRPL, Bldg. No. 20, Nehru Place, New Delhi-110019

- General Manager (Commercial), National Thermal Power Corporation, NTPC NCR Headquarter, Sector-24, Noida, UP-201301

- DGM(SCADA), Delhi SLDC

- S.E. M&P Circle, HVPNL, Vidyut Nagar, Hissar, Haryana-125001, (Fax-01662-223017)

- Manager (SO)-Shift, Delhi SLDC

- Executive Engineer (SO), NDMC, Minto Road

- DGM (Metering and Protection),Delhi Transco Ltd.,Parkstreet,220kV S/Stn., New Delhi

- Dy. Manager(F), Comml., DTL, IP Estate, New Delhi-2

- Manager (T), EA, SLDC

- Dy. Manager (F), SLDC

Copy for favour of kind information to :

  - Secretary, CERC, Chanderlok Building, Janpath, New Delhi-110001

  - Secretary, Punjab Electricity Regulatory Commission, SCO:220-221, Sector-31A, Chandigarh, Fax No.0172-2664758, 2645163, 2602435

  - Secretary, Haryana Electricity Regulatory Commission,  Bay-33-36, Sector-4, Panchkula-134112, Haryana Fax No. 0172-2582531, 2572359

  - Secretary, DERC, Viniyamak Bhawan, C-Block, Shivalik, New Delhi-17

  - CMD, DTL

  - CMD, PSTCL, the Mall, Patiala-147001

  - Managing Director, Haryana Vidyut Prasaran Nigam Ltd, Shakti Bhawan, Sector-6, Panchkula-134109

  - Member Secretary, NRPC, 18A, Shaheed Jeet Singh Marg, Opp. Katwaria Sarai, New Delhi-16

  - Chairperson, New Delhi Municipal Council, Palika Kendra, Sansad Marg, New Delhi

  - CEO, BSES Rajdhani Power Ltd, BSES Bhawan, Nehru Place, New Delhi-110019

  - CEO, BSES Yamuna Power Ltd, Shakti Kiran Building, Karkardooma, Delhi-92

  - CEO, NDPL, 33kV Grid S/Stn, Hudson Lane, Kingsway Camp, Delhi-9

  - Chief Engineer(Utilities),CWE,MES, Kotwali Road, Near Gopi Nath Bazar, Delhi Cantt New Delhi-110010

  - Managing Director, Indraprastha Power Generation Company Ltd (Genco) / Pragati Power Corporation Ltd (PPCL), Himadri, Rajghat Power House, New Delhi-110002

  - Joint Secretary (Power), GNCTD

  - CEO, Power System Operation Corporation (POSOCO), B-9, Qutub Institutional Area, Katwaria Sarai, New Delhi-110016

  - Director (Operations), DTL

  - Director (Tech.), IPGCL/PPCL

  - Director (Finance), DTL

  - Director (Finance), IPGCL/PPCL

  - General Manager, NRLDC, 18A, Shaheed Jeet Singh Marg, Opp. Katwaria Sarai, New Delhi-16

  - G. M. (SLDC)

DELHI TRANSCO LTD.

(Regd. Office : Shakti Sadan, Kotla Road, New Delhi 110002)

[Office of Dy. General Manager (SO)]

SLDC Building, Minto Road, New Delhi – 110 002

Phone No.23221149, Fax 23221012, 23221059

Sub   :	Minutes of the Meeting held on 08.09.10 at 3.00 PM at SLDC for resolving scheduling and other related issues of Bawana CCGT Station and upcoming 108MW Rithala Power Station in NDPL area.

Director (Operations), DTL welcomed all delegates and requested for fruitful discussions and decisions to resolve the issues mentioned in the agenda. The gist of the deliberations and decision thereof are as under.

List of the participants is enclosed as Annexure-A.

- SLDC referred the communication received from PPCL indicating the fact that a slight modification is required in the minutes of the meeting held on 19.08.2010 circulated vide letter no. F.DTL/207/DGM(SO)/10-11/219 dated 30.08.2009. The Sl. No. 4 of the minutes mentioned about the Delhi Govt.’s decision regarding 10% capacity of Bawana CCGT station as merchant power to be disposed off through the short term open access transactions after 31.03.2011. However through referred communication PPCL clarified that the Govt. has allowed PPCL can trade at least 10% of its capacity as merchant power through open access. However while making the same PPCL must ensure that the requirement of Delhi is met first. As such, the date mentioned in the minutes indicating the date of transfer of merchant power is allowed only after 31.03.2011 may be deleted. The minutes accordingly stand altered in the above terms.

Bawana Issues

- Allocation of power to beneficiaries

After detailed discussions the allocation from the station the beneficiaries mentioned in the agenda has been okayed. The allocation is as under :

| Sr. No | State | Allocation |
| --- | --- | --- |
|  |  | With merchant power | Without merchant power |
|  |  | In percentage | In MW | In percentage | In MW |
| 1 | Delhi |  |  |  |  |
|  | BRPL | 26.53 | 363.70 | 30.32 | 415.63 |
|  | BYPL | 16.58 | 227.33 | 18.95 | 259.75 |
|  | NDPL | 17.77 | 243.52 | 20.31 | 278.39 |
|  | NDMC | 7.3 | 100 | 8.34 | 114.36 |
|  | MES | 1.82 | 25 | 2.08 | 28.51 |
|  | Total for Delhi | 70.00 | 959.56 | 80.00 | 1096.64 |
| 2 | Haryana | 10 | 137.08 | 10 | 137.08 |
| 3 | Punjab | 10 | 137.08 | 10 | 137.08 |
| 4 | Merchant Power | 10 | 137.08 | 0 | 0 |
|  | Total | 100 | 1370.80 | 100 | 1370.80 |

Note  : The final allocation depends upon the decision on merchant power

The beneficiaries were of the opinion that the decision of the merchant power should be taken as early as possible. It was further explained that if the decision to dispose off the merchant power on later stage would be disadvantageous to the consumers as the fixed charges of the station in initial years would be much more.

Executive Director (PPCL) agreed to the concern of the beneficiaries and informed that the decision regarding merchant power would be taken very soon and a meeting has also been scheduled to be chaired by Chief Secretary/Pr. Secretary (Power), GNCTD on 13.09.2010 and decision would be communicated to all concerned

It was further decided that all the scheduling and accounting of Bawana CCGT project power would be done based on the above allocation table.

- Scheduling of infirm power

PPCL has indicated that ‘One of the Gas Turbine of Bawana Power Project is likely to be synchronized in open cycle mode in second half of September 2010.  Since, COD of the unit will not be declared; the power generated by Bawana units will not be available to Delhi as the same would be treated as UI as per the tariff regulations of CERC. It was further explained that Delhi Government has advised them to take up the matter regarding scheduling of this infirm power to Delhi to meet the power requirement during Common Wealth Games. Accordingly, the issue has been discussed with CERC by PPCL wherein CERC advised PPCL to file a petition before CERC for relaxation of the regulations for paving way of scheduling of infirm power of Bawana CCGT to the beneficiaries. As a pre-requisite the consent from beneficiaries viz DISCOM of Delhi, Punjab and Haryana is required to be obtained for scheduling of this infirm power during games on payment of variable charges only.

The beneficiaries enquired why the unit can not be declared the commercial operation from the day of its synchronization as the scheduling can be done on firm basis. PPCL replied that the unit is not ready for commercial operation as it is not technically feasible to run the machine on mandatory 72 hours of continuous operation at full load before declaring the commercial operation. The beneficiaries were univocal that the infirm power should not be scheduled as the continuity of availability of power can not be ensured and no planning is possible with this power due to the uncertainty.  As far as Delhi’s Discoms are concerned they have tied up sufficient power to meet the demand during CWG period considering 4450MW peak demand which is not expected to be achieved looking into the continuous rains.  The demand availability scenario was also exhibited which is given hereunder :

DETAILED ANTICIPATED POWER SUPPLY POSITION OF DELHI AS A WHOLE FOR OCTOBER 2010

All figures in MW at Delhi periphery

AS ON 15.09.2010

| S. | DETAILS | OCTOBER 2010 |
| --- | --- | --- |
| NO. |  | 1st Fortnight | 2nd fortnight |
|  |  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs |
| 1 | DEMAND PROFILE |  |  |  |  |  |  |  |  |
| A | UNRESTRICTED DEMAND DURING THE MONTH IN 2001 |  | 2542 |  | 2814 |  | 2280 |  | 2697 |
| B | UNRESTRICTED DEMAND DURING THE MONTH IN 2002 |  | 2644 |  | 2853 |  | 2472 |  | 2880 |
| C | UNRESTRICTED DEMAND DURING THE MONTH IN 2003 |  | 2643 |  | 2999 |  | 2488 |  | 2931 |
| D | UNRESTRICTED DEMAND DURING THE MONTH IN 2004 |  | 2845 |  | 3277 |  | 2449 |  | 2934 |
| E | UNRESTRICTED DEMAND DURING THE MONTH IN 2005 |  | 2765 |  | 3385 |  | 2705 |  | 3133 |
| F | UNRESTRICTED DEMAND DURING THE MONTH IN 2006 |  | 3083 |  | 3592 |  | 2867 |  | 3440 |
| G | UNRESTRICTED DEMAND DURING THE MONTH IN 2007 | 2280 | 2944 | 2904 | 3232 | 2280 | 2587 | 2904 | 3426 |
| H | UNRESTRICTED DEMAND DURING THE MONTH IN 2008 | 3068 | 3425 | 3428 | 3866 | 2650 | 3031 | 3198 | 3512 |
| I | UNRESTRICTED DEMAND DURING THE MONTH IN 2009 | 3375 | 3640 | 3913 | 3980 | 2618 | 3007 | 3020 | 3454 |
| 2 | ANTICIPATED PEAK HOUR DEMAND FOR 2010 AS PER NRPC METHODOLOGY |  | 3920 |  | 4235 |  | 3134 |  | 3492 |
| 3 | ANTICIPATED DEMAND ROUNDED OFF | 3500 | 3950 | 4100 | 4250 | 2800 | 3200 | 3200 | 3500 |
| 4 | ANTICIPATED DEMAND Considering 200 MW additional load of Commonwealth Games during the 1st Fortnight | 3700 | 4150 | 4300 | 4450 | 2800 | 3200 | 3200 | 3500 |
|  | AVAILABILITY FROM OWN SOURCES |  |  |  |  |  |  |  |  |
| A | BTPS | 630 | 630 | 630 | 630 | 630 | 630 | 630 | 630 |
| B | RPH | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| C | GT | 180 | 180 | 180 | 180 | 180 | 180 | 180 | 180 |
| D | PRAGATI | 300 | 300 | 300 | 300 | 300 | 300 | 300 | 300 |
| E | BAWANA PHASE-II 1500 MW PROJECT COD is Jan'11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |
| 5 | TOTAL WITHIN DELHI with BTPS & Bawana @ 95% availability and other stations at 90% availability. | 1031 | 1031 | 1031 | 1031 | 1031 | 1031 | 1031 | 1031 |
|  | AVAILIBILITY FROM CENTRAL SECTOR STATIONS |  |  |  |  |  |  |  |  |
| A | AVAILABILITY FROM FIRM ALLOCATION ** | 1490 | 1798 | 1798 | 2109 | 1490 | 1798 | 1798 | 2109 |
| B | AVAILABILITY FROM UNALLOCATED QUOTA ** | 0 | 97 | 97 | 97 | 0 | 97 | 97 | 97 |
|  | Availability from Dadri Thermal Stage II | 728 | 728 | 728 | 728 | 728 | 728 | 728 | 728 |
| 6 | TOTAL | 2218 | 2623 | 2623 | 2934 | 2218 | 2623 | 2623 | 2934 |
|  | BILATERAL AGREEMENTS |  |  |  |  |  |  |  |  |
| A | DVC AS PER THE OPEN ACCESS APPROVAL 212MW AT DELHI PERIPHERY BUT AS PER NORMAL AVAILBILITY 100MW | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 |
| B | ANDHRA PRADESH TO BYPL THROUGH GMRETL (100MW RTC UPTO 15.10.10) | 88 | 88 | 88 | 88 | 0 | 0 | 0 | 0 |
| C | JINDAL POWER WEST BENGAL TO BYPL THROUGH JPL (50MW RTC UPTO 31.10.2010) | 46 | 46 | 46 | 46 | 46 | 46 | 46 | 46 |

| S. | DETAILS | OCTOBER 2010 |
| --- | --- | --- |
| NO. |  | 1st Fortnight | 2nd fortnight |
|  |  | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs | 00-06 Hrs | 06-11 Hrs | 11-18 Hrs | 18-24 Hrs |
| 1 | DEMAND PROFILE |  |  |  |  |  |  |  |  |
| D | JINDAL POWER WEST BENGAL TO BRPL THROUGH JPL (100MW RTC UPTO 15.10.2010 AND 50MW FROM 16.10.10 TO 31.10.10) | 88 | 88 | 88 | 88 | 46 | 46 | 46 | 46 |
| E | TAMILNADU TO BRPL THROUGH RETL (100MW RTC UPTO 10.10.10) | 88 | 88 | 88 | 88 | 0 | 0 | 0 | 0 |
| F | ANDHRA PRADESH TO BRPL THROUGH RETL (44MW DURING 00.00HRS. TO 06.00HRS & 10.00HRS. TO 16.00HRS. UPTO 15.10.10) | 39 | 0 | 39 | 0 | 0 | 0 | 0 | 0 |
| G | KERALA TO NDPL THROUGH GMRETL (150MW RTC UPTO 15.10.10) | 132 | 132 | 132 | 132 | 0 | 0 | 0 | 0 |
| H | WEST BENGAL TO NDPL THROUGH NVVN (50MW DURING 00.00HRS. TO 17.00HRS & 40MW DURING 17.00HRS. TO 24.00HRS. UPTO 15.10.10) | 44 | 44 | 44 | 35 | 0 | 0 | 0 | 0 |
| I | CHHATTISGARH TO NDMC THROUGH PTC (10.00HRS - 18.00HRS. - 30MW UPTO 15.10.2010) | 0 | 0 | 27 | 0 | 0 | 0 | 0 | 0 |
| J | MEGHALAYA TO NDPL THROUGH NVVN (40MW RTC UPTO 15.10.10) | 35 | 35 | 35 | 35 | 0 | 0 | 0 | 0 |
| 7 | TOTAL BILATERAL | 660 | 621 | 687 | 612 | 192 | 192 | 192 | 192 |
| 8 | TOTAL AVAILABILITY (5+6+7) | 3908 | 4275 | 4341 | 4577 | 3440 | 3846 | 3846 | 4157 |
| 9 | SURPLUS (+)/SHORTAGE (-) (8)- (4) | 208 | 125 | 41 | 127 | 640 | 646 | 646 | 657 |

NOTE

- AVAILABILITY FROM UN-ALLOCATED QUOTA OF CENTRAL SECTOR HAS BEEN CONSIDERED AS 8% FROM 10:00 TO 23: 00 HOURS

- HYDRO CAPACITY IS ASSUMED 75% FOR ONE TO TWO HOURS DURING PEAK HOURS AND 30% DURING OFF-PEAK HOURS AND NO GENERATION DURING EARLY MORNING HOURS (00.00HRS. TO 06.00HRS)

- THERMAL CAPACITY IS ASSUMED AS 95% AS PER CEA NORMS DURING WINTER MONTHS.

- RAJGHAT STATION IS PROPOSED TO BE CLOSED DURING THE GAMES PERIOD.

From the above it is amply clear that inspite of closing 135MW RPH Units, less availability from DVC, assuming 4450MW demand, Delhi is having surplus power.

As such it was decided that the power generation from synchronization to commercial operation be treated as infirm power at prevailing UI rate as per CERC regulations.

- Minimum scheduling limit of the Station in case of low demand.

In the last meeting held on 19.08.2010 when the limit of backing down of Bawana CCGT was discussed the representative of the station informed that to control the pollution level the unit can not be back down generation beyond the limit of 80%. To finalize the limit they were requested to produce the manufacturer recommendation in this regard. Accordingly they have produced the certificate from the manufacturer i.e. BHEL indicating “ Typically the Fr-9FA Gas turbines with DLN combustion system have a premix operating range from 70% to 100% load, wherein the exhaust emission, will be within compliance limits. Parking the units too close to the premix transfer point can lead to combustion mode changes caused by load swings owing to governor response to sudden grid frequency changes. Frequent combustion mode changes on the unit are not desirable. Hence a load of around 75 to 80% should be ideal minimum load to reliably operate the Gas Turbines on Combined cycle mode.”

In view of above it was decided that the minimum limit of backing down of Bawana CCGT is 75% on combined cycle mode.

SLDC clarified that in case of requisition is less than 75% the unit shall be closed down. In this regard PPCL indicated that such closing down causes the MGO liability the same shall be passed on to the beneficiaries. SLDC mentioned that such clause is already inbuilt in the FPA computation for arriving variable charges.

Haryana, SLDC representative requested Delhi SLDC to obtain the consent from Haryana and Punjab SLDCs before running the units on Open Cycle.  PPCL indicated that in the Scheduling Procedure, the station has to declare Date of Commercial Operation in different fuel and different mode.  It is the utilities to decide regarding the scheduling of power from the station.  However, in real time operation, it would not be possible to obtain the consent of Open Cycle Operaton in the event of tripping of Steam Turbine.  Executive Director (PPCL) explained the event of tripping of GTs, it would take at least three hours to bring the generation in combined cycle mode.  As such, for generating in combined cycle mode, some part of generation is required to be generate in Open Cycle for which prior approval should not be a condition.

Haryana  representative requested for Open Cycle certification from Delhi SLDC for which it was replied that the detailed accounting procedure has already been explained in the MoM dated 19.08.2010 in which Open Cycle Certification is also mentioned.

- Registration of Punjab SLDC and Haryana SLDC as a user of Delhi SLDC.

In the last meeting, it was indicated that Punjab and Haryana SLDC were requested to register them as a beneficiaries of Delhi SLDC in view of the scheduling of power from Bawana CCGT to them.  Further, they would share the Delhi SLDC charges also as per the SLDC’s `Fees and Charges’ Regulations issued by DERC notified on 18.10.2007.  They were requested to provide the progress in this regard. Punjab representative was not present in the meeting. However, Haryana representative indicated that Haryana SLDC is not the user of Bawana CCGT power as the users are the Distribution Companies in the state. In this regard Delhi SLDC cited the example of Delhi SLDC got registered with NRLDC as a user on behalf of Discoms of Delhi on their request though Delhi SLDC is not the user. As such arguments has no legal bar. Then the representative cited the section 32 of EA 2003 where in functions of Load Despatch Center are elaborated. Section 32 (3) of EA 2003 says The State Load Despatch Centre may levy and collect such fee and charges from the generating companies and licensees engaged in intra-State transmission of electricity as may be specified by the State Commission.”

Further the Govt of India modified the payment clause as under :

Electricity (removal of difficulty) sixth order 2005 dated 08.06.2005 issued by GoI

2. 	Levy and collection of fees and charges for using transmission system.-

- The Regional Load Despatch Centre may levy and collect such fee 	and charges from the licensees using the inter-state transmission system as may be specified by the Central Commission.

The State Load Despatch Centre may levy and collect such fee and charges from the licensees using the intra-state transmission system as may be specified by the State Commission.

The above legal provisions mandates only the intra state utilities to pay the SLDC fees and charges as specified by the State Electricity Regulatory Commissions. As such in their view neither Haryana SLDC nor Punjab SLDC requires to pay the Delhi SLDC charges.

Considering the legal provisions arising out of the Electricity Act 2003 Punjab & Haryana SLDC need not be registered as users of Delhi SLDC and they are not bound to pay the Delhi SLDC charges and these fees and charges are to be borne by Delhi Discoms only. On NDPL’s submission that in case the other SLDCs do not share the charges of Delhi SLDC through the scheduling of Bawana power in respect of Punjab and Haryana’s share is done by Delhi SLDC, the Delhi Discoms are not bound to pay the Haryana SLDC charges for Jhajhar scheduling. In this regard Delhi SLC cited the regulation 6.4.2.c(iii) of IEGC stating

(iii) 	If a generating station is connected both to ISTS and the State network, scheduling and other functions performed by the system operator of a control area will be done by SLDC,, only .if state has more than 50% Share of power ,The role of concerned RLDC, in such a case, shall be limited to consideration of the schedule for inter state exchange of power on account of this ISGS while determining the net drawal schedules of the respective states. If the State has a Share of 50% or less, the scheduling and other functions shall be performed by RLDC.

As per the above quotation the Jhajhar scheduling shall be done by NRLDC.

- Metering Issues

NRLDC representative suggested the metering arrangement considering the evacuation of Bawana CCGT power as under :-

| S.No. | Element | Meter status | Installation responsibility |
| --- | --- | --- | --- |
| 1 | 400/220kV 315MVA ICT-I | 400kV side Main meter | At 220kV side stand by meters. | DTL |
| 2 | 400/220kV 315MVA ICT-II | -do- | -do- | DTL |
| 3 | 400/220kV 315MVA ICT-III | -do- | -do- | DTL |
| 4 | 400/220kV 315MVA ICT-IV | -do- | -do- | DTL |
| 5 | 400kV Bahadurgarh | Main meter at Bawana and check meter at Bahadurgarh | Already covered under Regional Energy Accounting system | PGCIL |
| 6 | 400kV Hissar | Main meter at Bawana and check meter at Hissar | -do- | PGCIL |
| 7 | Inter connector-I from Bawana, DTL | Main meter at Bawana DTL | Stand by meter at Bawana CCGT | PGCIL |
| 8 | Inter connector-I from Bawana, DTL | Main meter at Bawana DTL | Stand by meter at Bawana CCGT | PGCIL |
| 9 | GT-I 400/16.5kV | At 400kV main meter | Stand by meter at 16.5kVside | PPCL |
| 10 | GT-II 400/16.5kV | -do- | -do- | PPCL |
| 11 | GT-III 400/16.5kV | -do- | -do- | PPCL |
| 12 | GT-IV 400/16.5kV | -do- | -do- | PPCL |
| 13 | STG-I 400/16.5kV | -do- | -do- | PPCL |
| 14 | STG-II 400/16.5kV | -do- | -do- | PPCL |

As per the IEGC provisions the meter reading should be passed on to the respective control centers by the station authorities in whose premises the meters are installed by every Tuesday noon for the previous week covering Monday to Sunday period.

As far as the transmission charges and transmission losses in respect of Punjab and Haryana are concerned, the same will be governed by respective CERC regulations as Punjab and Haryana’s share would be evacuated through ISGS system.

- Telemetry issues

In the last meeting, it was decided that PPCL should provide the data connectivity on IEC 101 (RS232) protocol at the nearest existing location i.e. 400kV Bawana S/stn of DTL where the provision of data integration is available to integrate the date of Bawana CCGT Project to Delhi SLDC.

PPCL requested Delhi SLDC to carry out the data integration work on their behalf. Accordingly SCADA engineers of SLDC Delhi visited the site. It was explained that there is no provision of fiber connectivity between Bawana CCGT and Bawana DTL S/Stn. Only PLCC link is available at present. PLCC system is not effective for short distance as Bawana CCGT and 400kV Bawana DTL S/stn is electrically at same point. For efficient data integration fiber optic is required to be laid between Bawana CCGT and 400kV Bawana DTL S/stn and inter-acting facilities should be provided at 400kV Bawana control room of DTL. The cost estimation would be worked out by Delhi SLDC within two weeks and after getting the approval of PPCL work would be carried out as a deposit work.

Director (Operation) advise Delhi SLDC to carry out the work as early as possible and data integration would be done before commissioning of the units.

- Scheduling of Bawana CCGT

As per the provisions of IEGC the scheduling of Bawana CCGT is the responsibility of Delhi SLDC. However Haryana representative requested NRLDC to carry out the scheduling activities considering the station as ISGS station as in Bawana CCGT  two outside states have shares. Delhi SLDC also seconded the request of Haryana for more operational flexibility and scheduling coordination. PPCL was in favour of scheduling by Delhi SLDC. Delhi Discoms were neutral.

Concluding the discussions Chair advised Delhi SLDC to request NRLDC to carryout the scheduling of CCGT Bawana station for operational flexibility looking into the multiple states involved as beneficiary.

- Issue of Rithala GT Station (108MW) to be commissioned in NDPL area.

NDPL informed that the Rithala Station (37.19 X 2 GT + 36.23STG) MW is going to be commissioned shortly in its area. The station has been developed by a separate establishment under NDPL. The issues deliberated are as under :

a)	Connectivity of the Station with the Grid.

It was explained that at Rithala grid there are three Ckts. namely 66kV Rohini Grid Ckt-I, 66kV Rohini Grid Ckt-II and 66kV Rohini Grid 5 Ckt. The power evacuation would be done with these three Ckts. The connection to the grid is proposed  to be established with the grid through two 66kV Bus couplers with the provision of reverse power blocking facilities to avoid the reverse power flow to the grid through the outgoing 66kV Rohini Ckts from Rithala to 220kV Rohini S/stn. The single line diagram is appended here under :

Power evacuation system of Rithala CCGT of NDPL

SLDC enquired about the any study being carried out by NDPL to interact the transaction with 220kV grid in case of low demand condition at outgoing feeders and in case of tripping of machines causing the sudden inrush current at 220/66 100MVA Tx at Rohini. NDPL replied that they are carrying out the study. It was also requested the operational modalities again be discussed in steering committee meeting for which Executive Director (T), DTL agreed.

b)	Scheduling of the power from the Station – responsibility of SLDC?

NDPL requested Delhi SLDC to carryout the scheduling responsibility for better transparency in scheduling and dispatch of electricity generated from Rithala GT station.

9

The representative of Delhi SLDC wondered how a generation plant coming in the Distribution Licensees area whose entire output is fully dedicated to the particular distribution licensee can be scheduled by SLDC.  He quoted the relevant provisions of the Electricity Act 2003 indicating the functions and responsibility of SLDC

The State Load Dispatch Center (SLDC) as per the Electricity Act 2003 - Section 32, has to discharge the following functions :-

“

i)	The State Load Despatch Centre (SLDC) shall be the apex body to ensure integrated operation of the power system in a State

ii)	The State Load Despatch Centre (SLDC) shall

- be responsible for optimum scheduling and dispatch of electricity within a State, in accordance with the contracts entered into with the licensees or the generating companies in that State:

- monitor grid operations;

- keep accounts of the quantity of electricity transmitted through the State grid;

- exercise supervision and control over the intra-state transmission system: and

- be responsible for carrying out real time operations for grid control and dispatch of electricity within the State through secure and economic operation of the State grid in accordance with the Grid Standards and the State Grid Code.’’

As per the above provisions SLDC is responsible for optimum scheduling and dispatch of electricity within the state in accordance with the contract entered with the licensees and generating companies in that state. Since the Rithala Power Station is developed by distribution licensee itself though under different establishment under it, SLDC is not responsible for the scheduling of the station. It is the responsibility of areas load despatch center of NDPL to schedule the power according to the load profile, evacuation constraints etc. of its control area. SLDC’s responsibility lies only for regulation of drawal of the licensee from the grid according to the availability.

NRLDC representative also supported the views of Delhi SLDC. NDPL again requested Delhi SLDC to carry out the scheduling activities of Rithala Station by Delhi SLDC for transparency. They also cited the example of scheduling by concerned SLDCs for Torrent power at Ahmedabad and Dhanu & Trombey Power at Maharashtra.

Concluding the discussions the Chair advised SLDC to visit the concerned SLDCs and get the details of scheduling procedures of such stations so that the issue can be resolved.

c)	Telemetry with SLDC

SLDC, Delhi requires online data communication facility indicating online operation of data such as voltage at 400kV, frequency, line flow, MW generation, MVAR generation of the station as the station is instate generation.  As per Central Electricity Authority (Technical standards for connectivity to the grid) regulations 2006 notified on 21.02.2007 the responsibility falls in the ambit of Rithala station. The relevant portions of the connectivity regulations extracted hereunder :

“6. General Connectivity Conditions

(2)	The requester and user shall furnish data as required by the Appropriate Transmission Utility or by the licensee or generating station with whose system the inter-connection is proposed, for permitting inter-connection with the grid .

(3)	The requester and user shall provide necessary facilities for voice and data communication and transfer of on-line operational data, such as voltage, frequency, line flows, and status of breaker and isolator position and other parameters as prescribed by the Appropriate Load Despatch Center.”

2. Definitions :

(25)“Requester” means a person such as a Generating Company including captive generating pant or “Transmission Licensee (excluding Central Transmission Utility and State Transmission Utility) or Distribution Licensees or Bulk Consumer, who is seeking connection of his new o expanded electrical plant to the Grid at voltage level 33kV and above;

(34)“User” means a person such as a Generating Company including captive generating plant o Transmission Licensee (other than Central Transmission Utility and State Transmission Utility) or Distribution Licensees or Bulk Consumer, whose electrical plant is connected to the grid at voltage level 33kV and above; and

Further the Indian Electricity Grid Code (IEGC) notified by CERC on 28.04.2010 clause 4.6.2 clarifies the following :

4.6.2 Data and Communication Facilities

Reliable and efficient speech and data communication systems shall be provided to facilitate necessary communication and data exchange, and supervision/control of the grid by the RLDC, under normal and abnormal conditions. All Users, STUs and CTU shall provide Systems to telemeter power system parameter such as flow, voltage and status of switches/ transformer taps etc. in line with interface requirements and other guideline made available by RLDC. The associated communication system to facilitate

data flow up to appropriate data collection point on CTU’s system, shall also be established by the concerned User or STU as specified by CTU in the Connection Agreement. All Users/STUs in coordination with CTU shall provide the required facilities at their respective ends as specified in the Connection Agreement.

Definitions

2.1 (gggg) “User” means a person such as a Generating Company including Captive Generating Plant or Transmission Licensee ( other than the Central Transmission Utility and State Transmission utility) or Distribution Licensee or Bulk Consumer, whose electrical plant is connected to the ISTS at a voltage level 33kV and above;

The relevant provisions of Delhi Grid Code notified on 22.04.2008 regarding data connectivity are as under :

17 Communication Facilities

17.1 Reliable and efficient speech and data communication systems shall be provided to facilitate necessary communication and data exchange, and supervision/control of the State Grid by the State Load Despatch Centre, under normal and abnormal conditions.

17.2 All Users and Transmission Licensees shall provide the required facilities at their respective ends as laid down in the Connection Agreement:

Provided that the equipments/devices for communication and data exchange shall be provided considering the guidelines of the SLDC, the interface requirements and other such guidelines/specifications as applicable.

All the provisions of above statutory documents show that the provision of the data connectivity is the responsibility of user i.e. Rithala GT.

NDPL representative indicated that the data will be provided to SLDC through ICCP protocol. Delhi SLDC indicated that the data integration through ICCP would take more time as it is still in the preliminary stage of execution. This could not be possible before the commissioning of the station. NDPL offered the provision of data through a separate terminal in SLDC. SLDC explained the difficulties if data is provided in separate terminal without proper integration with the existing SCADA system the online computation of load demand is not possible. The load demand is computed by adding the internal generation with that of drawal from the grid. As specified in the grid code the data must be provided by Rithala GT station at the nearest 220kV S/stn i.e. Rohini 220kV through IEC 101 (RS232) protocol so that the same can be integrated with SLDC.

NDPL representative agreed to look into the matter.

The Chair advised NDPL not to synchronize the unit without proper data integration with SLDC as the entire on line load computation etc which is being viewed and monitored by SLDC, RLDC and NLDC would go hay way.

Concluding the discussions Director (Operations), DTL advise to convene one more meeting to finalize and resolve the residual issues before the synchronization of Bawana CCGT and Rithala CCGT.

12

Annexure-A

The list of the officers attended the meeting held at SLDC on 08.09.10 at 15.00hrs. with regard to Scheduling and other related issues of 1500MW Bawana CCGT.

| Name | Designation | Utility | Mobile no. |
| --- | --- | --- | --- |
| Sh. A.K. Kaul | Director (Operations), -in Chair | DTL | 9810299692 |
| Sh. P. K. Ray | Director(Tech.) | PPCL | 9818357133 |
| Sh. Raj Bhartiya | E.D.(T), Plg. | DTL | 9540040609 |
| Sh. R. Tikku | E.D.(T) | PPCL | 9818213279 |
| Sh. Roop Kumar | G. M. (SLDC) | SLDC | 9540040629 |
| Sh. Bhupinder Nath | G. M. (O&M) | DTL | 9540040627 |
| Sh. Nimaljit Singh | G.M.(Comml.) | DTL | 9540040628 |
| Sh. S.M. Verma | G.M. | PPCL | 9717694845 |
| Sh. V. Venugopal | DGM(System Operation) | SLDC | 9871093902 |
| Sh. A. C. Aggarwal | DGM(Comml.) | DTL | 9540040636 |
| Sh. Ved Mitra | DGM(Plg) | DTL | 9540040632 |
| Sh. Vivek Singla | GM | NDPL | 9871138500 |
| Sh. Jayanta Chatterjee | DGM | NDPL | 9818100625 |
| Sh. Ashish Kr. Dutta | AGM | NDPL | 9871798566 |
| Sh. Ashok Kumar | Manager (SO) | SLDC | 9540040669 |
| Sh. Vivek Pandey | Manager(SO-II) | NRLDC | 9910170824 |
| Sh. N.K. Makkar | Executive Engineer | HVPN | 9466219042 |
| Sh. Deepak Sachdeva | EE(E) | NDMC | 9811120675 |
| Sh. Madan Pal | AEE(Power) | NDMC | 9968267933 |
| Sh. R. K. Yadav | Manager (Commercial) | PPCL | 9717694845 |
| Sh. Haridas Maity | Sr. Manager | BYPL | 9350110156 |
| Sh. Mukesh Dadhich | Sr. Manager | BYPL | 9350261451 |
| Ms Neelam Bharti | AM(T), SO | SLDC | 9540040897 |
| Ms. Sonali Garg | AM(T), ERP | DTL | 9540040898 |
| Sh. Anish Garg | Jt. Director (Engg.) | DERC | 9911116590 |
| Sh. Sanjeev Kumar | AM(T), SO | SLDC | 9540040917 |
| Sh. Deepak Sharma | JE(E), SO-EA | SLDC | 9540041008 |
| Sh. Darshan Singh | Manager(SO) | SLDC | 9540040837 |
| Sh. S. P. Routray | Manager(HW/Commn.) | SLDC | 9540040939 |
| Sh. Pradeep Gupta | Manager (Proj) | PPCL | 9717694934 |