#### SCHEDULING & DESPATCH  PROCEDURES FORMULATED AS PER PROVISION 31.1 OF DELHI GRID CODE

#### SLDC, DELHI

### FEBRUARY  2011

INDEX

| CHAPTER NO. | DESCRIPTION | STARTING PAGE NO. |
| --- | --- | --- |
| 1 | INTRODUCTION | 3 |
| 2 | SALIENT FEATURES OF TARIFF UNDER ABT REGIME | 3-10 |
| 3 | INTRA STATE ABT OPERATION IN DELHI | 11 |
| 4 | NETWORK SECURITY AND SYSTEM OPERATION | 11-17 |
| 5 | DEMAND ESTIMATION AND CONTROL | 17-18 |
| 6 | TIME TABLE FOR EXCHANGE OF INFORMATION IN RESPECT OF SCHEDULING | 19-20 |
| 7 | SYSTEM CONTIGENCIES | 21 |
| 8 | DATA REQURIEMENT & VERFICATION IN RESPECT OF ABT METERING & ACCOUNT | 21-22 |
| 9 | COMPLEMENTARY COMMERCIAL MECHANISM FOR INTRASTATE ABT OPERATION & REACTIVE POWER TRANSACTION | 22-28 |
| 10 | COMPLEMENTARY COMMERCIAL MECHANISM FOR INTERDISCOM SURPLUS POWER TRANSFER ARISING OUT OF ALLOCATION FROM CENTRAL SECTOR GENERATING STATIONS / STATE SECTOR GENERATING STATIONS | 28-29 |
| 11 | COMPLEMENTARY COMMERICAL MECHANISM FOR INTER DISCOM TRANSFER OF SURPLUS POWER ARISING OF BILATERAL ARRANGEMENTS. | 30-31 |
| 12 | COMPLEMENTARY COMMERCIAL MECHANISM FOR CONGESTION CHARGES BEING LEVIED FOR VIOLATION OF INTER REGIONAL TRANSFER CAPACITY. | 32-33 |
| 13 | SCHEDULING PROCEDURE FOR NON CONVENTIONAL ENERGY SOURCES | 33-41 |

1.	INTRODUCTION

Central Electricity Regulatory Commission (CERC) approved the concept of implementation of Availability Based Tariff (ABT) vide its order dated 04.01.2000. Northern Region Electricity Board (NREB) in the meeting held on 16.9.2002 decided to implement the Availability Based Tariff w.e.f. 1st December 2002 in Northern Region. The purpose of implementation of ABT is for enforcing the discipline in the grid both for the generating utilities and the State utilities (say beneficiaries). The utilities would be obliged to provide a schedule for fifteen minutes slots and the generating units would ensure the availability as committed and the State utilities are required to maintain the drawal from the grid so as to maintain the grid parameters within the permissible limits. The objectives of ABT are as follows:-

    - There should be no over drawal during low frequency period with the frequency going below 49.0Hz. (now revised to 49.5Hz.)

- There should be no additional generation of power during high frequency regime with the frequency above 50.5Hz (now revised to 50.2Hz.).  The generators should ensure the backing down to the extent possible during the frequency regime 50.5Hz (now revised to 50.2Hz.) onwards.

- Rapid and wide flu02ctuations in the frequency upto 1.0 Hz during 5-10 minutes for many hours a day shall be avoided, which was the regular feature before the implementation of ABT in the country.

- Frequent grid disturbances resulting into tripping of generating stations effecting power supply to large number of consumers and disintegration of the Central grid shall be avoided.

2.	SALIENT FEATURES OF TARIFF UNDER ABT  REGIME

In the ABT regime, the tariff is based on following :-

- Capacity charges are payable to Generators in the ratio of MW allocation from the station to the declared capacity irrespective of drawal. These charges are to be paid to generators at the target availability fixed by the appropriate Electricity Regulatory Commission. In case the generators could not achieve the said target availability fixed for recovery of full fixed charges the same would be reduced on pro-rata basis to the availability achieved by the generator. In case the generator achieved more availability than the target availability fixed for recover full fixed charges incentive would be paid to the generators.

- Variable charges are payable to the Generators on the scheduled energy from the station.

- Unscheduled Interchanged (UI) charges - the difference between actual drawal and scheduled drawal in case of State utilities where as difference between actual Ex-bus generation and scheduled Ex-bus generation in case of generators.

The UI amount is computed on the basis of CERC regulations in this regard.

The charges for Unscheduled Interchange for all the time-blocks shall be payable for over-drawal by the buyer or the beneficiary and under-injection by the generating station or the seller and receivable for under-drawal by the buyer or the beneficiary and over-injection by the generating station or the seller and shall be worked out on the average frequency of the time-block at the rates (as per CERC notification dated 28.04.2010 applicable from 03.05.2010) given hereunder:-

5. Unscheduled Interchange (UI) Charges:

(1)	The charges for the Unscheduled Interchanges for all the time blocks shall be payable for over drawal by the buyer or the beneficiary and under-injection by the generating station or the seller and receivable for under-drawal by the buyer or the beneficiary and over injection by the generating station or the seller and shall be worked out on the average frequency of a time-block at the rates specified in the Schedule A of these regulations as per the methodology specified in clause(2) of this regulation.

Provided that the charges for the Unscheduled Interchange for the generating stations using coal or lignite or gas supplied under Administered Price Mechanism (APM) as the fuel, when actual generation is higher or lower than the scheduled generation, shall not exceed the Cap Rate as specified in the Schedule A of these regulations as per the methodology specified in clause (3) of this regulation,

Provided further that the Charges for the Unscheduled Interchange for the injection by a generating station other than the hydro generating station in excess of 105% of the Declared Capacity of the station in a time block or in excess of 101% of the average Declared Capacity over a day shall not exceed the charges for the Unscheduled Interchange corresponding to grid frequency interval of ‘below 50.02 Hz and not below 50.0 Hz’.

Provided also that the charges for the Unscheduled Interchange for the under drawls by the buyer or the beneficiaries in a time block in excess of 10% of the schedule or 250 MW whichever is less, shall not exceed the Cap Rate as specified in the Schedule A of these regulations as per the methodology specified in clause (4) of this regulation.

Provided also that the charges for the Unscheduled Interchange for the injection by the seller in excess of 120% of the schedule subject to a limit of ex-bus generation corresponding to 105% of the Installed Capacity of the station in a time block or 101% of the Installed Capacity over a day shall not exceed the Cap Rate as specified in the Schedule A of these regulations as per the methodology specified in clause (5) of this regulation. Provided also that the Charges for the Unscheduled Interchange for the injection by the seller in excess of ex-bus generation corresponding to 105% of the Installed Capacity of the station in a time block or 101% of the Installed Capacity over a day shall not exceed the charges for the Unscheduled Interchange corresponding to grid frequency interval of ‘below 50.02 Hz and not below 50.0 Hz’.

(2)	The Charge for Unscheduled Interchange shall be determined in accordance with the following methodology:

- The Charge for Unscheduled Interchange shall be zero at grid frequency of 50.2 Hz and above.

- The Charge for Unscheduled Interchange corresponding to grid frequency interval of ‘below 50.02 Hz and not below 50.0 Hz’ shall be based on the median value of the average energy charge of coal/lignite based generating stations for the six months period of August 2009 to January 2010 and suitably adjusted upward to decide on the UI price vector.

- The UI Price Vector shall accordingly, be in steps for a frequency interval of 0.02 Hz between 50.2 Hz to 50.0 Hz.

- The Charge for Unscheduled Interchange in grid frequency interval of ‘below 49.70 Hz and not below 49.68 Hz’ shall be such that it provides sufficient incentive to the generating station based on coal including imported coal to support the grid after meeting fixed and energy charge.

- The UI Price Vector shall accordingly be in steps for a frequency interval of 0.02 Hz between 50.0 Hz to 49.70 Hz.

- The Charge for Unscheduled Interchange at grid frequency below 49.5 Hz shall be based on the highest of the average energy charges of generating stations for the six months period of August 2009 to January 2010 and suitably adjusted upward to decide on the UI price vector.

- The UI Price Vector shall be in steps for a frequency interval of 0.02 Hz between 49.70 Hz to 49.50 Hz corresponding to the Charge for Unscheduled Interchange in grid frequency interval of ‘below 49.70 Hz and not below 49.68 Hz’ and Charge for Unscheduled Interchange in grid frequency interval of below 49.50 Hz.

(3)	The Cap rate for the charges for the Unscheduled Interchange for the generating stations using coal or lignite or gas supplied under Administered Price Mechanism (APM) as the fuel shall be the same as the charges for the Unscheduled Interchange corresponding to grid frequency interval of ‘below 49.70 Hz and not below 49.68 Hz’ as specified in Schedule “A” of these Regulations.

(4)	The Cap Rate for the Unscheduled Interchange for the under drawls by the buyer or the beneficiaries in excess of 10% of the schedule or 250 MW whichever is less shall be the same as the charges for the Unscheduled Interchange corresponding to grid frequency interval of ‘below 49.70 Hz and not below 49.68 Hz’ as specified in Schedule “A” of these Regulations.

(5)	The Cap Rate for the Unscheduled Interchange for the injection by the seller in excess of 120% of the schedule subject to a limit of exbus generation corresponding to 105% of the Installed Capacity of the station in a time block or 101% of the Installed Capacity over a day shall be the same as the charges for the Unscheduled Interchange corresponding to grid frequency interval of ‘below 49.70 Hz and not below 49.68 Hz’ as specified in Schedule “A” of these Regulations.

(6)	The Charge for Unscheduled Interchange at grid frequency of ‘49.5 Hz and below’, at grid frequency interval of ‘below 50.02 Hz and not below 50.0 Hz’ and at grid frequency interval of ‘below 49.70 Hz and not below 49.68Hz’ shall be re-notified every six months based on the relevant escalation indices notified by the Commission under the Competitive bidding guidelines of Government of India and Schedule “A” of these regulations shall be re-notified accordingly.

(7)	Limits on UI volume and consequences of crossing the limits.-

- The over-drawal of electricity by any beneficiary or a buyer during a time block shall not exceed 12% of its scheduled drawal or 150 MW, whichever is lower, when frequency is below 49.7 Hz and 3% on a daily aggregate basis for all the time blocks when the frequency is below 49.7 Hz

Explanation: The limits specified in this clause shall apply to the sum total of over-drawal by all the intra-State entities in the State including the distribution companies and other intra-State buyers, and shall be applicable at the inter-State boundary of the respective State.

- The under-injection of electricity by a generating station or a seller during a time-block shall not exceed 12% of the scheduled injection of such generating station or seller when frequency is below 49.7 Hz and 3% on daily aggregate basis for all the time blocks when the frequency is below 49.7 Hz

- In addition to Unscheduled Interchange Charges corresponding to frequency of 49.5 Hz as stipulated under Regulation 5 of these regulations, Additional Unscheduled Interchange Charge shall be applicable for over-drawal or under-injection of electricity for each time block when grid frequency is below 49.5 Hz at the rates specified in the schedule A of these regulations in accordance with the methodology specified in clause (3a) of this regulation.

Provided further that Additional Unscheduled Interchange Charge for under-injection of electricity, during the time-block when grid frequency is below 49.5 Hz, by the generating stations using coal or lignite or gas supplied under Administered Price Mechanism (APM) as the fuel shall be at the rates specified in the schedule A of these regulations in accordance with the methodology specified in clause (3b) of this regulation.

Explanation: Additional Unscheduled Interchange Charges shall not be applicable for net over drawls by a region as a whole from other regions when grid frequency is below 49.5 Hz.

(3a)	The additional Unscheduled Interchange charge for over-drawals and under-injection of electricity for each time block when grid frequency is below 49.5 Hz shall be as specified by the Commission as a percentage of the charges for the Unscheduled Interchange in grid frequency ‘below 49.5 Hz’ with due consideration to the behavior of the buyer and beneficiaries and sellers and the generating stations towards grid discipline.

Provided that the Commission may specify different additional Unscheduled Interchange charges for over drawls and under injections and at different frequencies below 49.5 Hz.

(3b)	The additional Unscheduled Interchange charge for under injection of electricity during the time-block when grid frequency is below 49.5 Hz, by the generating stations using coal or lignite or gas supplied under Administered Price Mechanism (APM) as the fuel shall be as specified by the Commission as a percentage of the Cap Rate, with due consideration to the behavior of the generating stations towards grid discipline.

Provided that the Commission may specify different additional Unscheduled Interchange charges for under injections at different frequencies below 49.5 Hz.

d)	Payment of Unscheduled Interchange Charges under Regulation 5 and the

Additional Unscheduled Interchange Charge under Regulation 7(3) above, shall be levied without prejudice to any action that may be considered appropriate under Section 142 of the Act for contravention of the limits of over-drawal or undergeneration as specified in these regulations, for each time block when frequency is below 49.7 Hz.

- The Commission may, if considered necessary, prescribe from time to time Additional Unscheduled Interchange Charge for over-drawal or under-injection of electricity during each timeblock when grid frequency is below 49.7 Hz and up to 49.5 Hz.

- The charges for over-drawal / under-injection and underdrawal/ over-injection of electricity shall be computed by the secretariat of the respective Regional Power Committee in accordance with the methodology used for preparation of ‘Regional Energy Accounts’.

The Regional Load Despatch Centre shall prepare and publish on its website the records, on monthly basis, of the UI Accounts, specifying the quantum of over-drawal/under-generation and corresponding amount of UI charges paid for each beneficiary or buyer and received for each generating station or seller for the time-blocks when grid frequency was below 49.5 Hz and between 49.7-49.5 Hz separately.”

The charging for the UI mechanism according to the above regulations are as under :

UI Tariff Structure currently in force

-------------------------------------------------- -------------------------------------

Average Frequency of time-block UI Rate (P/kWh)

-------------------------------------------------- -------------------------------------

50.20 Hz and above 			0.00

Below 50.20 Hz and upto 50.18 Hz 	15.5

Below 49.70 Hz and upto 49.68 Hz 	403

Below 49.52 Hz and upto 49.50 Hz 	826

Below 49.50 Hz 				873

Between 50.20 Hz and 49.70 Hz 		Linear in 0.02 Hz steps @ 15.5 P/kWh for each step

Between 49.70 Hz and 49.50 Hz 		Linear in 0.02 Hz steps @ 47 P/kWh for each step

UI Cap Rate 	403 P/kWh for Gen Stns using Coal or Lignite or APM Gas  403 P/kWh for Under Drawl by buyer in Excess of 10% of Schedule or 250MW 403 P/kWh for seller in excess of 120% of Schedule

Additional UI Charges (Below 49.5 Hz 	349.2 P/kWh for Overdrawl

and upto 49.2				174.6 P/kWh for Under Injection

80.6 P/kWh for Under Injection by Gen Stns using Coal or Lignite or  349.2 P/ APM Gas

Additional UI Charges (Below 49.2 Hz) 	873 P/kWh for Overdrawl kWh for Under Injection

161.2 P/kWh for Under Injection by Gen Stns using Coal or Lignite or APM Gas

-------------------------------------------------- -------------------------------------

Based on the above the UI charges for all time block payable for overdrawal by buyer or the beneficiary and under generation by generating station or the seller and receivable for under drawal by the buyer or the beneficiary and over injection by the generating station or the seller shall be worked out on average frequency of the time block at the rates given hereunder :

| Average frequency of time block (Hz) | UI rate (Paisa per kWh) | Average frequency of time block (Hz) | UI rate (Paisa per kWh) |
| --- | --- | --- | --- |
| Below | Not below |  | Below | Not below |  |
|  | 50.20 | 0.00 | 49.82 | 49.80 | 294.50 |
| 50.20 | 50.18 | 15.50 | 49.80 | 49.78 | 310.00 |
| 50.18 | 50.16 | 31.00 | 49.78 | 49.76 | 325.50 |
| 50.16 | 50.14 | 46.50 | 49.76 | 49.74 | 341.00 |
| 50.14 | 50.12 | 62.00 | 49.74 | 49.72 | 356.50 |
| 50.12 | 50.10 | 77.50 | 49.72 | 49.70 | 372.00 |
| 50.10 | 50.08 | 93.00 | 49.70 | 49.68 | 387.50 |
| 50.08 | 50.06 | 108.50 | 49.68 | 49.66 | 403.00 |
| 50.06 | 50.04 | 124.00 | 49.66 | 49.64 | 450.00 |
| 50.04 | 50.02 | 139.50 | 49.64 | 49.62 | 497.00 |
| 50.02 | 50.00 | 155.00 | 49.62 | 49.60 | 544.00 |
| 50.00 | 49.98 | 170.50 | 49.60 | 49.60 | 591.00 |
| 49.98 | 49.96 | 186.00 | 49.60 | 49.58 | 638.00 |
| 49.96 | 49.94 | 201.50 | 49.58 | 49.56 | 685.00 |
| 49.94 | 49.92 | 217.00 | 49.56 | 49.54 | 732.00 |
| 49.92 | 49.90 | 232.50 | 49.54 | 49.52 | 779.00 |
| 49.90 | 49.88 | 248.00 | 49.52 | 49.50 | 826.00 |
| 49.88 | 49.84 | 263.50 | 49.50 |  | 873.00 |
| 49.84 | 49.82 | 279.00 |  |  |  |

Significant definitions in CERC’s UI Regulations are as under :-

“Seller” 	means a person, other than a generating station, supplying electricity, through a transaction scheduled in accordance with the regulations applicable for short term open access, medium term open access and long term access.

“Buyer” 	means a person, other than the beneficiary, buying electricity, through a transaction scheduled in accordance with the regulations applicable for short term open access, medium term open access and long term access.

“Gaming” 	in relation to these regulations, shall mean an intentional mis-declaration of declared capacity by any generating station or seller in order to make an undue commercial gain through Unscheduled Interchange charges.

“Beneficiary” 	means the person purchasing electricity generated from the generating station.

In consonance with the above UI Regulations of CERC, the State Electricity Regulatory Commission has also devised the UI regulations for intra state operations vide its order dated 03.08.2010. The operative part of the order is reiterated hereunder:

“

2. 	Commission has examined the above notification of CERC, dated 28.04.2010. The Commission is of the view that there is a need to modify the UI charges for the Intra-State System of Delhi to be in line with the modification effected by CERC. Accordingly, the limits on over-drawal when frequency is below 49.7 Hz and under drawal by the beneficiaries shall be as follows:

| S. No. | Name of the Utility | Over-drawal | Under-drawal |
| --- | --- | --- | --- |
|  |  | % of its scheduled drawal | MW | 3% on Daily Aggregate | % of its Scheduled drawal | MW |
| 1. | BRPL | 12% | 57 | 3% | 10% | 95 |
| 2. | NDPL | 12% | 38 | 3% | 10% | 63 |
| 3. | BYPL | 12% | 35 | 3% | 10% | 58 |
| 4. | NDMC | 12% | 17 | 3% | 10% | 29 |
| 5. | MES | 12% | 03 | 3% | 10% | 05 |
| TOTAL | 150 | TOTAL | 150 |  | Total | 250 |

3.	All the above limits shall be applicable simultaneously and for the purpose of calculation of UI charges, additional UI charges and invoking of penal provisions as per the Act/Regulation/Orders/IEGC/State Grid Code, the over-drawal of electricity from the schedule by any utility during a time-block shall not exceed 12% of the scheduled drawal or demand in MW (whichever is lower) when frequency is below 49.7 Hz and 3% on daily aggregate basis. The under-drawal of electricity from the schedule by any utility during a time-block shall not be beyond 10% of the scheduled drawal or demand in MW (whichever is less) otherwise the UI charges receivable would be 403Ps/Unit and not 873Ps/Unit.

4(i)	The provision of CERC Order dated 28.04.2010 for inter-state transaction would also be applicable to intra-state transactions with respect to under-drawal / over-drawal in Delhi even if Delhi as a whole is not over/under drawing.

4(ii). 	s regards generators and the Distribution Licensees, the conditions laid down above and in the CERC notification dated 28.04.2010 shall also be applicable besides the conditions stipulated by this Commission in its Order dated 31.03.2007.

The DERC order in respect of UI Charges is the adoption of CERC Regulations in toto for implementation at Intrastate level.

3	INTRASTATE ABT OPERATION IN DELHI

In the second phase of Power Reforms undertaken in Delhi, the Power Purchase responsibilities have been entrusted to Distribution Licensees / Deemed Distribution licensees from 01.04.2007.  The PPAs entered into with various supply agencies by erstwhile DESU / DVB / DTL have been reassigned to these licensees by the order of Delhi Electricity Regulatory Commission (DERC) dated 31.03.2007.

The Intrastate ABT has also been introduced in Delhi from 01.04.2007.

4.         NETWORK SECURITY AND SYSTEM  OPERATION

In order to maintain the Security of the Power System in day to day operation    Grid Parameters vis frequency, voltage should remain close to nominal values. It is also important that adequate margins are available in all transmission corridors (inter regional as well as intra regional) to take care of large contingencies in any region of the North – East –West (NEW) Grid.

A. Frequency Control

- Each License / Generating Station shall make all possible efforts to ensure
maintenance of System frequency within allowable band i.e. 49.5Hz to 50.2Hz as per IEGC w.e.f. 03.05.2010.

- Action by Distribution Licensees :  As per the provisions of Indian Electricity Grid Code (IEGC), Delhi Grid Code (DGC), Distribution / Deemed Distribution Licensees shall restrict their demand so that difference between scheduled drawal and actual drawal should be within the respective limits fixed by DERC vide its order dated 03.08.2010

In case of frequency falling below 49.5Hz, the State Load Despatch Centre (SLDC) shall direct the concerned Distribution / Deemed Licensees to effect manual load shedding to curtail over-drawal.  SLDC shall advise the over drawing Distribution Licensees considering the over drawal of Delhi as a whole for necessary load regulations.

Such directions shall include the time period or the system conditions until which the issued directions shall be applicable.

In case of certain system contingencies and/or threat to system security, the State Load Despatch Centre (SLDC) may direct the Distribution / Deemed Distribution Licensees to decrease their drawals and such Distribution / Deemed Distribution Licensees shall act upon such directions immediately. SLDC shall advise the utilities to restore the system as soon as normalization of system parameters takes place.

Distribution / Deemed Distribution Licensees shall make arrangements that will enable manual disconnection to take place as instructed by the SLDC.

As mentioned in clause 5.4.2(d) of IEGC Distribution Licensees shall formulate and implement state-of-the-art demand management schemes for automatic demand management like rotational load shedding, demand response (which may include lower tariff for interruptible loads) etc. before 01.01.2011, to reduce overdrawl in order to comply para 5.4.2 (a) and (b) . A Report detailing the scheme and periodic reports on progress of implementation of the schemes shall be sent to the Central Commission by the concerned SLDC.

The directions of SLDC shall be verbal at 1st instance followed by in writing. In case of emergency situations Licensees should not insist for writing directions. However, the written directions would be issued when normalcy returns, for the records.

- Action by Generating Companies (GENCOs) : At frequency higher than 50.2Hz., the MW Generation at the Generating stations shall not be increased. No Generating units shall be synchronized with the system while the Grid frequency is above 50.2Hz. The MW Generation shall be backed down to the stable operation at which oil support is not required and unit can operate in a stable and safe manner.  Likewise under low frequency conditions if the capacity is available, MW generation should be maximized to the extent possible. The relevant IEGC Clause and Delhi Grid Code Clauses are reproduced hereunder :-

IEGC Clause

IEGC clause 6.4.11. stipulates “Provided that when the frequency is higher than 50.2 Hz, the actual net injection shall not exceed the scheduled despatch for that time block. Also, while the frequency is above 50.2 Hz, the ISGS may (at their discretion) back down without waiting for an advice from RLDC to restrict the frequency rise. When the frequency falls below 49.7 Hz, the generation at all ISGS (except those on peaking duty) shall be maximized, at least upto the level to which can be sustained, without waiting for an advice from RLDC subject to the condition that such increase does not lead to unacceptable line loading or system parameters to deteriorate beyond permissible limit .”

Delhi Grid Code Clauses

22.9	Each Generating Unit shall be fitted with a turbine speed governor having an overall droop characteristic within the range of 3% to 6% and such turbine speed governor shall always be in service:

Provided that if any generating unit of over fifty (50) MW size is required to be operated without its governor in normal operation, the SLDC shall be immediately advised about the reason and duration of such operation.

22.10	Facilities available with/in load limiters, Automatic Turbine Run-up System, Turbine Supervisory Control, Coordinated Control System, etc., shall not be used to suppress the normal governor action in any manner. No dead bands and/or time delays shall be deliberately introduced.

22.11	Each Generating Unit (proposed to be amended to “except Gas Turbine units till the Commission decides” in consonance with IEGC) shall be capable of instantaneously increasing output by 5%, when the frequency falls, subject to limit of 105% of Maximum Continuous Rating. Ramping back to the previous generation level, in case the increased output level cannot be sustained, shall not be faster than 1% per minute:

Provided that any generating unit of over Fifty (50) MW size not complying with the above requirements, shall be kept in operation (synchronized with the State Grid) only after obtaining the permission of the SLDC:

Provided also that User can make up the corresponding shortfall in spinning reserve by maintaining an extra spinning reserve on the other generating units of the User.

22.12	The recommended rate for changing the governor setting, i.e., supplementary control for increasing or decreasing the output (generation level) for all generating units, irrespective of their type and size, would be one (1.0) per cent per minute or as per manufacturer’s limits. However, if frequency falls below 49.5 Hz, all partly loaded generating units shall pick up additional load at a faster rate, according to their capability.

■	Action by SLDC: SLDC would observe the drawal pattern of the Licensees &
attention would also be drawn to willful over drawls resulting in low frequency
operation.  SLDC shall also be duty-bound to observe the relevant clauses of IEGC and DGC for maintaining the system stability. The relevant clauses of IEGC and DGC in this regard are reproduced hereunder :-

IEGC Clauses

5.4 Demand Management

5.4.1 	Introduction

This section is concerned with the provisions to be made by SLDCs to effect a reduction of demand in the event of insufficient generating capacity, and inadequate transfers from external interconnections to meet demand, or in the event of breakdown or congestion in intra-state or inter-state transmission system or other operating problems (such as frequency, voltage levels beyond normal operating limit, or thermal overloads , etc. ) or overdrawl of power vis-àvis of the regional entities beyond the limits mentioned in UI regulation of CERC

5.4.2 	Demand Disconnection

(a)	SLDC/ SEB/distribution licensee and bulk consumer shall initiate action to restrict the drawal of its control area ,from the grid, within the net drawal schedule whenever the system frequency falls to 49.7 Hz

(b)	The SLDC/ SEB/distribution licensee and bulk consumer shall ensure that requisite load shedding is carried out in its control area so that there is no overdrawl when frequency is 49.5 Hz. or below.

c) 	Each User/STU/SLDC shall formulate contingency procedures and make arrangements that will enable demand disconnection to take place, as instructed by the RLDC/SLDC, under normal and/or contingent conditions. These contingency procedures and arrangements shall regularly be / updated by User/STU and monitored by RLDC/SLDC. RLDC/SLDC may direct any User/STU to modify the above procedures/arrangement, if required, in the interest of grid security and the concerned User/STU shall abide by these directions.

d)	The SLDC through respective State Electricity Boards/Distribution Licensees shall also formulate and implement state-of-the-art demand management schemes for automatic demand management like rotational load shedding, demand response (which may include lower tariff for interruptible loads) etc. before 01.01.2011, to reduce overdrawl in order to comply para 5.4.2 (a) and (b). A Report detailing the scheme and periodic reports on progress of implementation of the schemes shall be sent to the Central Commission by the concerned SLDC.

e)	In order to maintain the frequency within the stipulated band and maintaining the network security, the interruptible loads shall be arranged in four groups of loads, for scheduled power cuts/load shedding, loads for  unscheduled load shedding, loads to be shed through under frequency relays/ df/dt relays and loads to be shed under any System Protection Scheme identified at the RPC level. These loads shall be grouped in such a manner, that there is no overlapping between different Groups of loads. In case of certain contingencies and/or threat to system security, the RLDC may direct any SLDC / SEB/ Distribution Licensee or bulk consumer connected to the ISTS to decrease drawal of its control area by a certain quantum. Such directions shall immediately be acted upon . SLDC shall send compliance report immediately after compliance of these directions to RLDC.

f)	To comply with the direction of RLDC, SLDC may direct any SEB/ distribution licensee/bulk consumer connected to the STU to curtail drawal from grid. SLDC shall monitor the action taken by the concerned entity and ensure the reduction of drawal from the grid as directed by RLDC.

g) 	RLDCs shall devise standard, instantaneous, message formats in order to give directions in case of contingencies and /or threat to the system security to reduce overdrawl by the bulk consumer , SLDC/ State at different overdrawal conditions depending upon the severity of the overdrawal. The concerned SLDC shall ensure immediate compliance with these directions of RLDC and send a compliance report to the concerned RLDC.

h) 	All Users, SLDC/ SEB/distribution licensee or bulk consumer shall comply with direction of RLDC/SLDC and carry out requisite load shedding or backing down of generation in case of congestion in transmission system to ensure safety and reliability of the system. The procedure for application of measures to relieve congestion in real time as well as provisions of withdrawl of congestion shall be in accordance with Central Electricity Regulatory Commission (Measures to relieve congestion in real time operation) Regulations, 2009.

i) 	The measures taken by the User’s, SLDC SEB/distribution licensee or bulk consumer shall not be withdrawn as long as the frequency remains at a level lower than the limits specified in para 5.2 or congestion continues, unless specifically permitted by the RLDC/SLDC.

Delhi Grid Code Clauses

23 	Demand forecast

23.1	The SLDC shall set out the responsibilities for short term (one day to 52 weeks) demand estimation of active power as well as reactive power. It shall also provide for procedures as well as timelines to be followed for exchange of information between concerned entities for arriving at these estimates/forecasts:

Provided that the SLDC shall refer to the demand forecast considered by the STU while developing the transmission system plan under Regulation 9 of these Regulations.

23.2	The demand estimation shall cover the time scales as applicable for operational purposes. The time scales should be decided after giving due considerations to the requirements under other existing Regulations for furnishing demand forecast related information.

24 	Manual Demand Disconnection

24.1	Users shall endevour to restrict their actual drawal within their respective drawal schedules whenever the system frequency is below 49.7 Hz (changed in consonance with IEGC 2010):

Provided that, in case of frequency falling below 49.5 Hz. (changed in consonance with IEGC 2010), the SLDC shall direct the concerned Users to effect manual load shedding to curtail over-drawal:

Provided further that such directions shall include the time period or the system conditions until which the issued directions shall be applicable.

24.2	In case of certain contingencies and/or threat to system security, the State Load Despatch Centre may direct Users to decrease their drawals and such Users shall act upon such directions immediately:

Provided that any non-compliance with such directions shall be dealt with as per provisions of Regulation 35 of these Regulations.

24.3 	Users shall make arrangements that will enable manual disconnection to take place as instructed by the SLDC.”

In IEGC and UI Regulations, the State as a whole is taken as one control area.  In the context of maintenance of Grid discipline, if the State as whole falls in the Grid violation range as stipulated above, necessary load regulations needs to be carried out by the Intrastate Utilities.

No load regulation shall take place in case any Discom (s) overdraw when Delhi as a whole underdraws from the grid under low frequency conditions stipulated in IEGC.

B.	Voltage Control

- Each Distribution / Deemed Distribution Licensee / Generating Station shall make all possible efforts to ensure maintenance of System voltage within the normal range.  As per DGC, the users and transmission licensees shall make all possible efforts to ensure grid voltage always remain with the following operating range:					Voltage- (kV rms)

| Nominal | Maximum | Minimum |
| --- | --- | --- |
| 400 | 420 | 380 |
| 220 | 245 | 198 |
| 66 | 72 | 60 |
| 33 | 36 | 30 |
| 11 | 11.4 | 10.6 |

Subject to changes in IEGC / DGC provisions.

- Action by Transmission / Distribution / Deemed Distribution Licensees : The licensees are expected to provide local VAR compensation so that they do not draw any VARs from the grid during low voltage conditions and do not inject any VARs to the grid during high voltage conditions. Licensees shall also resort to load management for controlling voltage. The On-Load Tap Changers (OLTCs) on the transformers wherever available, should also be used to maintain voltage profile.

- Action by Generating Companies (GENCO) : In order to improve the overall voltage profile, the generators shall run in a manner so as to have counter balancing action corresponding to low / high system voltage and to bring it towards the nominal value. Generators shall generate reactive power during low voltage conditions and absorb reactive power during high voltage conditions as per the capability limits of machines.

- Action by SLDC:   In case Licensees and the GENCOs do not take the requisite
measures and voltage drops down to critically low levels, then SLDC may resort to
regulatory measures by opening lines feeding load in the areas of defaulting licensees.

5.	DEMAND ESTIMATION AND CONTROL

- Demand estimation and control is essentially the responsibility of Distribution / Deemed Distribution Licensees. SLDC would give instructions to Licensees on   demand control whenever the same has a bearing on security of the grid and such instructions would have to be complied forthwith by all Licensees.

- To maintain the balance between availability and requirement proper scheduling is to be carried out for which each Distribution / Deemed licensees will intimate their load projections for the succeeding day in each 15 minutes time block. If no schedule is received, the previous days schedule taken into consideration of normal days / holidays etc, will be taken into account for compiling the consolidated daily requirement to be forwarded to NRLDC.  In case no schedule is received from GENCOs, the present day actual generation shall form the despatch schedule for GENCOs for the succeeding day.

- While requisitioning power requirement, the Distribution / Deemed Distribution licensees should keep in mind the minimum technical requirement to ensure the continuity of the generation of the running machines of the generating stations and the maximum availability. More precisely, the maximum requirement to minimum requirement should not be less than 70% of the respective available capacity in case of Thermal Stations of Central Sector Generating Stations except Badarpur Thermal Power Station (BTPS). The requisition from Central Sector Gas stations should not be less than 60% of the available capacity on the normal conditions and 50% under extreme emergency conditions. The requisition from Center Sector Hydro and Nuclear stations would depend upon the generation schedule fixed by RLDC with no conditions attached. However RLDC adjusts the schedule of the hydro source depending upon storage capacity and requirement of the grid. For Nuclear stations, no variation is possible due to technical constraints associated to the stations.

- As far as BTPS is concerned, the requisition should not be less than 80% ex-bus capacity of the running machines.

- The Pragati Power Corporation Ltd. can not go below 80% ex-bus capacity of the running machines of Pragati Gas Station due to the pollution stipulations (NOX level).

- Bawana CCGT can also not go beyond 75% Ex-bus capacity of running machines due to pollution stipulations.

- The full requisition of RPH availability should be maintained considering the age of the stations as well as being the core generation. As far as IPGCL’s Gas station is concerned the requirement should not be less than 70% ex-bus capacity of the running machines due to technical constraints and pollution stipulations.

6 (A). TIME TABLE FOR EXCHANGE OF INFORMATION IN RESPECT OF SCHEDULING

| TIME | ACTIVITY |
| --- | --- |
| By 09.00Hrs. | ISGS shall advise NRLDC the station wise MW and MWh capabilities. |
| By 09.00Hrs. Action by-Genco | 1.BTPS, IPGCL & PPCL shall declare the availability in 15 minutes time block in terms of MW and MWH. in the following formats to SLDC |
|  | Statement indicating declared capacity for |
|  | Time Block in hrs. | AVAILABILITY IN MW AND MWH |
|  |  | RPH RPH | GT | PRAGATI | BTPS |
|  | 00.00-00.15 |  |  |  |  |
|  | 00.15 - 0030 |  |  |  |  |
|  | _ |  |  |  |  |
|  | 23.45-24.00 |  |  |  |  |
|  | Total in Mus |  |  |  |  |
| By 10.00Hrs. | Entitlement of state shall be posted by NRLDC in their website www.nrldc.in for Central Sector |
| By. 10.00Hrs. | SLDC shall post the Genco, PPCL & BTPS availability in its website www.delhisldc.org. |
| By 11.00Hrs. | SLDC shall post the DISCOMs entitlement in its website |
| By 13.00Hrs. | Licensees namely, BSES Yamuna Power Ltd, BSES Rajdhani Power Ltd, North Delhi Power Ltd., NDMC and MES shall intimate the SLDC power for succeeding day in terms in MW and MWH in 15 minutes time block. Statement showing requirement of power from Various sources for dated Name of the Utility |
|  | Time Block in hrs. Power Requirement in MW Energy requirement in MWh 00.00 - 00.15 00.15 - 00.30 23.45-24.00 Total in Mus. |
| By 15.00Hrs. Action by - SLDC | SLDC shall assess the requirement of power from all sources and intimate the same to NRLDC |
| By 17.00Hrs. | NRLDC shall convey the net drawal schedule for Delhi and posted in the website. |
| By 18.00hrs. | SLDC shall post on the website the provisional drawal schedule of Discoms and generation schedule of Gencos based on provisional drawal schedule of Delhi as a whole posted in NRLDC website. |
| By 19.00Hrs. Action by Genco/Licensees | The generating stations of Genco / licensees shall under extreme emergency alter the schedule of generation / requirement and intimate the same to SLDC for forwarding the same to NRLDC for incorporation in final drawal schedule of Delhi. |
| By 22.00Hrs. Action by-SLDC | SLDC shall inform the modification if any, for incorporating in the final drawal schedule to NRLDC. |
| By 23.00Hrs. Action by NRLDC | NRLDC shall issue the final drawal schedule of Delhi state along with other states and posted in their website. |
| By 23.30Hrs. Action by-SLDC | SLDC shall compute and post on the web site the drawal schedule of Discoms and generation schedule of generating stations within Delhi based upon the availability from Central Sector stations bilateral agreements entered into by various distribution licensees for the next day. |

For Bawana CCGT project the day ahead scheduling procedures are as under :

Process for Scheduling (for succeeding day)

By 09:00 Hrs -	Bawana CCGT shall advise Delhi SLDC MW and MWh

capabilities of the station as per IEGC provisions.

By 10:00 Hrs - 	Delhi SLDC shall post entitlement of the beneficiaries from

Bawana in the Delhi SLDC’s website www.delhisldc.org

By 13:00 Hrs - 	Beneficiaries shall intimate Delhi SLDC the requirement of

power from Bawana CCGT in terms of MW and MWh in 15 minutes time block.

By 15:00 Hrs -	SLDC shall assess the requirement of power from all beneficiaries and intimate the same to Bawana CCGT through website.

While computing Generation Schedule, Delhi SLDC shall take care the minimum requirement to run the units of the station.

NRLDC and other respective SLDCs shall also be intimated regarding the drawal schedule of States outside Delhi from Bawana CCGT by the time.

In addition to above intra day scheduling changes also take place as per the provisions of IEGC which should be incorporated by SLDC in the scheduling on real time basis and distribution licensees shall follow these revise schedules for regulation of the drawal as per the system parameters.

Apart from above the real time NRLDC/SLDC instructions shall be binding to all, in order to maintain the normal grid parameters.

7.	SYSTEM CONTIGENCIES

A.	OUTAGE OF MAJOR GENERATING UNITS

In the event of outage of major generating Units in the region resulting into lesser availability the situation would be controlled by the following methods.

i)	Action by Gencos

To maximize the availability from the generating stations within the permissible safe parameters of the machine as per the directions of SLDC.

ii) 	Action by Distribution / Deemed Distribution Licensees

Licensees shall resort to frequency/voltage based Load management as per the directions of SLDC to maintain the grid parameters as provided in Delhi Grid Code / IEGC.

iii) 	Action by SLDC

SLDC shall manage the availability and requirement by issuing instructions to GENCOs and Distribution / Deemed Distribution Licensees to maximize the generation and reduce the load respectively to maintain the grid parameters within normal limits as per the provisions of Delhi Grid Code / IEGC.

B. 		SUDDEN REDUCTION OF LOAD

In the event of load crash in the System due to weather changes or other reasons, the situation would be controlled by the following methods:

###### i) 	Action by Gencos

Backing down or closing down of generating units (as per the advise of SLDC).

ii) 	Action by Distribution / Deemed Distribution Licensees

Lifting of the load restrictions, if any

8.	DATA REQUIREMENT AND VERIFICATION IN RESPECT OF ABT METERING & ACCOUNTS

The State Transmission Utility (STU) shall install and maintain ABT compliant meters in all energy exchange points. The installation, maintenance, testing and data transfer etc shall be as per the provisions drawn out in detailed Metering Procedures formulated and notified by the STU (now DTL) with the approval of the State Electricity Regulatory Commission. SLDC shall prepare the weekly UI accounts based on the meter readings provided by the STU and injection schedules of generating utilities and drawal schedule of Distribution utilities based on daily implemented schedules drawn out by SLDC. Other utilities involved in Intra state ABT operation in same line with that being prepared by RLDCs / RPCs at Regional level. The meter readings, UI accounts shall be posted in the website of SLDC. The data shall be made available in the website for five days for verification and redress. Indian Electricity Grid Code (IEGC) also mandates RLDCs to keep such data in the website of respective utilities for five days.

The utilities involved shall check the meter data and weekly UI accounts and if any discrepancy observed either in meter data or in the UI accounts, the same shall be brought to the notice of Metering and Protection Department of the STU (now DTL) and SLDC within 20 days of issue of UI accounts. SLDC shall revise UI accounts, if found necessary, and adjustment arising out of the revision of UI account shall be reflected in subsequent weekly UI accounts / Accounts. If no discrepancy reports received by the completion of 20 days from the date of issue of weekly UI Accounts, the same would be treated as final.

9	COMPLEMENTARY COMMERCIAL MECHANISM FOR INTRASTATE ABT OPERATION AND REACTIVE POWER TRANSACTION.

At present there are eleven intra-state ABT utilities in Delhi namely BRPL, BYPL, NDPL, NDMC, MES, BTPS, IP, RPH, IPGCL’s GT station, PPCL’s Gas Turbine station and Bawana Station. The Energy Accounting and other commercial mechanism is as under :-

a)	The intra state ABT utilities shall pay to the respective Inter State Generating Stations (ISGSs) capacity charges corresponding to plant availability and Energy charges for the scheduled dispatch, as per the relevant notifications and orders of CERC.  The bills for these charges shall be issued by the respective ISGS to each beneficiary on monthly basis based on Regional Energy Accounts (REAs) issued by Regional Power Committees (RPCs).  For State generating stations (SGS), the relevant notifications and order of DERC shall be applicable payment of capacity charges and Energy charges and other charges shall be paid on monthly basis based on State Energy Accounts (SEAs) issued by SLDC.

b)	The sum of the above two charges from all intra state ABT utilities shall fully reimburse the ISGSs / SGSs for generation according to the given dispatch schedule.  In case of a deviation from the dispatch schedule, the concerned ISGS/SGS shall be additionally paid for excess generation through the UI mechanism approved by CERC/DERC.  In case of actual generation being below the given dispatch schedule the concerned ISGS/SGS shall pay back through the UI mechanism for the shortfall in generation.

c)	The summation of station wise ex-power plant dispatch schedules from ISGSs / SGSs and any bilaterally agreed interchanges of each intra state ABT utility shall be adjusted for transmission losses, and the net drawal schedule so calculated shall be compared with the actual net drawal of the beneficiary.  In case of excess drawal, the intra state ABT utility shall pay through the UI mechanism for the excess energy.  In case of under-drawal, the beneficiary shall be paid back through the UI mechanism, for the energy less drawn.

d)	When requested by an intra state ABT utility, SLDC shall assist the beneficiary in coordination with NRLDC in locating a buyer/seller and arranging a scheduled interchange within the State or Region or across the regional boundary.  The SLDC and RLDC shall act only as a facilitator (not a trader/broker),, and shall assume no liabilities under the agreement between the two parties, except (i) ascertaining that no component of the power system of any other intra state ABT utility shall be over-stressed by such interchange/trade, and (ii) incorporating the agreed interchange/trade in the net interchange schedules for the concerned intra state ABT utilities.

e)	State Energy Accounts shall be prepared and issued on monthly basis. Provisional Accounts shall be issued by 6th of every month for the preceding month. Final accounts shall be issued as and when the SEM data for the entire month is made available to SLDC.

f)	The statement of UI charges shall be prepared by the SLDC on a weekly basis and these shall be issued to all intra state ABT utilities after the issue of regional UI accounts for the seven day period ending on the previous Sunday mid-night.  Payment of UI charges shall have a high priority and the concerned intra state ABT utility shall pay the indicated amounts within 8 (eight) days of the statement issue into the intra state UI pool accounts being operated by the SLDC.

g)	If payments against the above UI charges are delayed beyond ten (10) days from issue of statement, the defaulting beneficiary shall have to pay simple interest at the rates mentioned in IEGC / UI Regulations from the Eleventh (11th) day of due date for each day of delay.  The interest so collected shall be paid to the beneficiary (ies) who had to receive the payment amount, which got delayed as per the procedures finalized by Commercial Sub-Committee of GCC / GCC.  At present, the interest payable is computed as per the decision of 2nd Commercial Sub-Committee meeting of GCC held on 10.09.2009 which has been concurred by GCC in its meeting held on 06.11.2009.  The present methodology of Interstate computation of outstanding UI payment is as under :-

- The interest for delayed payment would be calculated from the 15th day of issue of intra-State UI A/c. for the receivable utilities at intra-State level.

- The interest for delayed payment would be calculated from the 11th day of issue of intra-State UI A/c. for the payable utilities at intra-State level.

- In case the interest receivable from NR is to be disbursed to the payable/receivable intra-State Utilities of Delhi on 50-50 basis after the interest receivable from the payable utilities as per intra-State UI A/C.

- In case the interest payable to NR, the same would have to be paid by the paying utilities interest liability.  The difference of interest payable to NR and receivable from the paying utilities as per intra-State UI A/C is to be adjusted from the receivable / payable utilities as per the methodology already adopted for matching the UI amount.

- In case of UI payments made in part or non payment the any payment made towards UI accounts shall be adjusted as per the stipulations made in CERC UI regulations issued on 28.04.2010 (as decided in the 6th Commercial Sub-committee meeting held on 17.05.2010) which are as under :

10. Schedule of Payment of Unscheduled Interchange Charges and Payment

Security

(1)	The payment of UI charges shall have a high priority and the concerned constituent shall pay the indicated amounts within 10 (ten) days of the issue of statement of Unscheduled Interchange charges including Additional Unscheduled Interchange charges by the Secretariat of the respective Regional Power Committee into the “Regional Unscheduled Interchange Pool Account Fund” of the concerned region.

(2)	If payments against the Unscheduled Interchange charges including Additional Unscheduled Interchange charges are delayed by more than two days, i.e., beyond twelve (12) days from the date of issue of the statement by the Secretariat of the respective Regional Power Committee, the defaulting constituent shall have to pay simple interest @ 0.04% for each day of delay.

(3)	All payments to the entities entitled to receive any amount on account of UI charges shall be made within 2 working days of receipt of the payments in the “Regional Unscheduled Interchange Pool Account Fund” of the concerned region.

Provided that in case of delay in the UI Payment into the respective regional UI Pool Account Fund and interest there on if any, beyond 12 days from the date of issue of the Statement of UI charges then the regional entities who have to receive UI payment or interest thereon shall be paid from the balance available if any, in the regional UI Pool Account Fund of the region. In case the balance available is not sufficient to meet the payment to the constituents, then the payment from the regional UI Pool Accounts Fund shall be made on pro rata basis from the balance available in the Fund.

Provided further that the liability to pay interest for the delay in payments to the “Regional UI Pool Account Fund” shall remain till interest is not paid; irrespective of the fact that constituents who have to receive payments have been paid from the “Regional UI pool account Fund” in part or full.

(4)	All regional entities which had at any time during the previous financial year failed to make payment of Unscheduled Interchange charges including Additional Unscheduled Interchange charges within the time specified in these regulations shall be required to open a Letter of Credit (LC) equal to 110% of its average payable weekly UI liability in the previous financial year, in favour of the concerned RLDC within a fortnight from the date these Regulations come into force.

Provided that if any regional entity fails to make payment of Unscheduled Interchange Charges including Additional Unscheduled Interchange Charges by the time specified in these regulations during the current financial year, it shall be required to open a Letter of Credit equal to 110% of weekly outstanding liability in favour of respective Regional Load Despatch Centre within a fortnight from the due date of payment.

Provided further that LC amount shall be increased to 110% of the payable weekly UI liability in any week during the year, if it exceeds the previous LC amount by more than 50%.

Illustration:	If the average payable weekly UI liability of a regional entity during 2009-10 is Rs. 20 crore, the regional entity shall open LC for 22 crore in 2010-11. If the weekly payable liability during any week in 2010-11 is Rs. 35 crore which is more than 50% of the previous financial year’s average payable weekly liability, the concerned regional entity shall increase the LC amount to Rs. 35 Crore by adding Rs. 13 Crore.

(5)	In case of failure to pay into the “UI Pool Account Fund” within the specified time of 12 days from the date of issue of statement of UI charges, the RLDC shall be entitled to encash the LC of the concerned constituent to the extent of the default and the concerned constituent shall recoup the LC amount within 3 days.

10. Amendment of Regulation 11 of the Principal Regulations –

Sub- clause (1) of Regulation 11 of the principal regulations shall be substituted as under, namely

“11. Application of fund collected through UI

(1)	The amount left in the UI pool account fund after final settlement of claims of Unscheduled Interchange charges of the generating station and the beneficiaries shall be transferred to a separate fund as may be specified by the Commission and shall be utilised, with the prior approval of the Commission for either or both of the following activities:

(a)	Servicing of investment for transmission schemes of strategic importance, provided that the Central Transmission Utility in consultation with a Central Electricity Authority shall identify the inter-State transmission schemes of strategic importance, not being utilised up to optimum level and seek prior approval of the Commission for servicing of capital costs during the initial years. Provided further that when utilisation of such transmission line or transmission system included in the transmission schemes of strategic importance reaches the optimum level of utilisation, the cost of such scheme shall be recovered from the users of the scheme in accordance with the methodology specified by the Commission

(b)	Providing ancillary services including but not limited to ‘load generation balancing’ during low grid frequency as identified by the Regional Load Despatch Centre, in accordance with the procedure prepared by it, to ensure grid security and safety:

(2)	The amount of fund, allocable for the purposes specified under clause (1) of this regulation, shall be decided by the Commission from time to time.”

h) 	Persistent payment defaults, if any, shall be reported by the SLDC to the Grid Co-ordination Committee (GCC) initiating remedial action. The State Electricity Regulatory Commission shall also be informed of the persistent default.

i)	The SLDC shall table the complete statement of the intra state UI accounts in the GCC through its Commercial sub-committee, on a quarterly basis, for audit by the latter.

j)	All 15-minute energy figures (net scheduled, actually metered and UI) shall be rounded off to the nearest 0.01 MWh.

k)	The Reactive Power Transactions Charges shall be according to the decision taken by State Regulatory Commission vide its order dated 16.07.2010.  The operative part of the order is reiterated hereunder :-

1. 	The Commission in its interim Order dated 6th August, 2009 permitted the DTL to charge for Reactive Energy as per the existing rate of 2P/KVArh and also directed the Discoms to pay the reactive energy charges @2P/KVArh with effect from 1.4.2010 which was applicable between the Regional Entity, except generating stations and the regional pool account for VAr interchanges.

2. 	Consequent upon revision of Reactive Energy Charges vide CERC order dt. 26.04.2010 (CERC Indian Electricity Grid Code Regulations, 2010), the Reactive Energy Charges is being revised in line with the said CERC order.  The charge for VArh shall be at the rate of 10 paise/KVarh & this will be applicable between the State Entity, except Generating Stations, and the regional pool account for VAr interchanges. This rate shall be escalated at 0.5 paise / KVArh per year thereafter, unless otherwise revised by the CERC.

3. 	Reactive power compensation should ideally be provided locally, by generating reactive power as close to the reactive power consumption as possible. The State Entities except Generating Stations are therefore expected to provide local VAr compensation/generation such that they do not draw VArs from the EHV grid, particularly under low-voltage condition as per IEG Code.

4. 	Other conditions shall be in line with CERC orders referred above.

5. 	This order shall come into force with immediate effect.

The State Electricity Regulatory Commission’s order is defacto implementation of IEGC provisions.  The significant IEGC provisions on Reactive Power charges and other related issues are as under :

6.6 	Reactive Power and Voltage Control

1. 	Reactive power compensation should ideally be provided locally, by generating reactive power as close to the reactive power consumption as possible. The Regional Entities except Generating Stations are therefore expected to provide local VAr compensation/generation such that they do not draw VArs from the EHV grid, particularly under low-voltage condition. To discourage VAr drawals by Regional Entities except Generating Stations, VAr exchanges with ISTS shall be priced as follows:

- 	The Regional Entity except Generating Stations pays for VAr drawal when voltage at the metering point is below 97%

- 	The Regional Entity except Generating Stations gets paid for VAr return when voltage is below 97%

- 	The Regional Entity except Generating Stations gets paid for VAr drawal when voltage is above103%

The Regional Entity except Generating Stations pays for VAr return when voltage is above 103%

Provided that there shall be no charge/payment for VAr drawal/return by a Regional Entity except Generating Stations on its own line emanating directly from an ISGS.

2. 	The charge for VArh shall be at the rate of 10 paise/kVArh w.e.f. 1.4.2010, and this will be applicable between the Regional Entity, except Generating Stations, and the regional pool account for VAr interchanges. This rate shall be escalated at 0.5paise/kVArh per year thereafter, unless otherwise revised by the Commission.

3 	Notwithstanding the above, RLDC may direct a Regional Entity except Generating Stations to curtail its VAr drawal/injection in case the security of grid or safety of any equipment is endangered.

4. 	In general, the Regional Entities except Generating Stations shall endeavor to minimize the VAr drawal at an interchange point when the voltage at that point is below 95% of rated, and shall not return VAr when the voltage is above 105%. ICT taps at the respective drawal points may be changed to control the VAr interchange as per a Regional Entity except Generating Stations’ request to the RLDC, but only at reasonable intervals.

5. 	Switching in/out of all 400 kV bus and line Reactors throughout the grid shall be carried out as per instructions of RLDC. Tap changing on all 400/220 kV ICTs shall also be done as per RLDCs instructions only.

6. 	The ISGS and other generating stations connected to regional grid shall  of the respective generating units, that is without sacrificing on the active generation required at that time. No payments shall be made to the generating companies for such VAr generation/absorption.

As decided in the 5th GCC meeting held on 25.10.2010, the same methodology of Reactive Energy Pricing envisaged in IEGC has been implemented from 01.04.2010.  The billing shall be done on monthly basis.  The payable utility has to pay the charges within 08 days of the issue of the bill failing which interest at the rates mentioned in IEGC would be levied from 11th day of the issue of the Reactive Energy Transaction Bill.

10	COMPLEMENTARY COMMERCIAL MECHANISM FOR INTERDISCOM SURPLUS POWER TRANSFER ARISING OUT OF ALLOCATION FROM CENTRAL SECTOR GENERATING STATIONS / STATE SECTOR GENERATING STATIONS.

The inter discom surplus power transaction is regulated on the basis of DERC’s order dated 14.08.2007 on the subject. The procedures adopted are as under :

a)	Distribution / Deemed Distribution Licensees shall indicate the surplus/shortage on day ahead basis to SLDC by 12.00hrs. taking into account of Declared Capacities (DCs) of generating stations posted on the NRLDC website for ISGS and for generating stations within Delhi posted on the SLDC website. The Distribution / Deemed Distribution Licensees have to indicate their surplus capacity in the following format.

| Time block | Entitlement from ISGS & SGS | Demand (MW) | Surplus(+)/ shortage(-) (MW) | Bilateral import (MW) | bilateral export (MW) | Net shortage (MW) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |

As per the DERC’s order dated 31.03.2007, any surplus due to capacity allocation derived at col. 4 above needs to be distributed to the discoms who faces shortages.

b)	SLDC shall draw out the surplus / shortages of individual Discoms from the data submitted by Discoms as mentioned in ‘a’ replacing with the demand estimated (col. 3) with that of SCADA data of drawals of Discoms available with SLDC for drawing out day ahead drawal schedules (actual drawal, actual availability from Central Sector Generating Stations and State Sector Generating Stations) which would be corrected as per actuals once the actual data of power companies is made available to SLDC through SEM readings. In the absence of requisite data for drawing out provisional inter discom transfer of power for day ahead scheduling, the previous day’s data would be considered for the purpose.

c)	For judicious distribution of surplus power within Delhi, according to the requirement of inter-discoms SLDC shall distribute the individual surplus to the needy discoms based on weighted average entitlements and to the extent of requirement by the utilities.

d)	This process would be finalized by 17.00 hrs. for the next day for drawing out provisional inter discom transfer of power for day ahead scheduling purposes and drawing out provisional drawal schedule for the next day for Distribution/Deemed Distribution Licensees.  The schedule of inter-discom transfer of power would be posted in the SLDC website by 18.00hrs. for the next day along with the drawal schedules of utilities.

e)	SLDC shall issue Monthly Accounts of the Inter Discom Transfer of surplus power as soon as the SEM data of actual consumption of utilities covering the entire month is made available to SLDC. The payment for such transactions should be done within 7 days of the issue of the bills by the concerned utilities based on SLDC accounts (final) failing which an interest of 0.04% per day is leviable on the outstanding amount.  The rate of such transfer shall be on the basis of time to time direction of DERC.

11	COMPLEMENTARY COMMERICAL MECHANISM FOR INTER DISCOM TRANSFER OF SURPLUS POWER ARISING OF BILATERAL ARRANGEMENTS.

In the meeting taken by Secretary (Power), Govt. of India on 08.05.2009 in one of the points decided “The State must keep top priority to meeting their domestic demand before exporting power to others”.  The State Govt. has forwarded the minutes of the meeting for taking necessary action on the points discussed and decided in the meeting.

It is worthwhile to mention that Section 37 of Electricity Act 2003 inter alia states

“37	Directions by Appropriate Government.

The Appropriate Government may issue directions  to the Regional Load Despatch Centres of State Load Despatch Centres, as the case may be, to take such measures as may be necessary for maintaining smooth and stable transmission and supply of electricity to any region or State “

In view of the above, the directions of the Govt. of NCT of Delhi to take necessary action as per the decisions taken in the meeting of Secretary (Power), Govt. of India  if any distribution licensee in Delhi has surplus power, the first preference should be given to needy distribution licensees to meet the shortfall.  The commercial mechanism in regard as per the time to time advise of Delhi Power Procurement Group (DPPG) during the summer 2010, the methodology as decided in the DPPG meeting held on 12.04.2010 was as under :-

1	Inter Discom transfer of surplus power by virtue of long term allocation of various sources (Central Sector and State Sector generating sources) would be first distributed as per the existing methodology.

2 	Surplus arising out of allocation of various sources in Central Sector and State Sector, Inter Discom transfer of surplus power by virtue of long term allocation of various sources (Central Sector and State Sector generating sources) mentioned at No. 1 above and other Bilateral Arrangements would be distributed to the needy Discoms within Delhi on day ahead basis to use the surplus power available with any of the Discoms within Delhi as detailed hereunder :-

  - Discoms to inform SLDC and all other Discoms the day ahead surplus/ shortages in 96 blocks of 15minutes duration each for the succeeding day by 10.15A.M. The surplus/shortages should be based on the following methodology

All figures in MW

| Time block | Allocation from ISGS & SGS | Demand | Surplus(+)/ shortage(-) | Inter Discom Sale (-)/ Purchase (+) | bilateral import | Net shortage/ surplus |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 |

As per the DERC’s order dated 31.03.2007, any surplus due to capacity allocation derived at col. 4 above needs to be distributed to the Discoms who faces shortages during the time blocks on first charge basis. Shortage / Surplus arrived at Colum 7 would be the basis for driving out the transactions for inter discom transfer after bilateral arrangements on day ahead basis

  - SLDC shall work out to drive the transaction of surplus power by virtue of bilateral arrangements on pro rata basis upto 11.00hrs. for the succeeding day and intimate the Discoms accordingly.

  - In case of non receipt of day ahead shortage/ surplus by 10.30A.M.in SLDC is to SLDC it will be assumed there is no shortage / surplus available with the Discom.

  - SLDC shall incorporate such schedules for Inter Discom Transfer of surplus power like other sources of purchase for drawing out the final drawal schedule for Discoms.

  - Rate of such inter-discom sale of power will be the IEX bid clearing rate discovered in Northern Region of the Delivery Date for the time slot.

  - If IEX rate for that time slot is not available, then PXIL bid clearing rate discovered in Northern Region Rate for that slot will be considered.  If PXIL rate is also not available, then UI rate during the time will be considered.

  - SLDC shall issue weekly account sof such transfer for the period starting from Monday to Sunday by next Tuesday and accordingly Seller discom shall raise bill to the buyer Discom.  Due date of payment will be within three days including date of raising bill.  In case, due date is Bank Holiday, payment will be made on next bank working day.

  - Buyer Discoms will pay the full amount of bill on due date without any rebate.

  - A surcharge of 0.04% per day will be applicable for any late payment after due date.

The above system continued upto 31.10.2010.

12	COMPLEMENTARY COMMERCIAL MECHANISM FOR CONGESTION CHARGES BEING LEVIED FOR VIOLATION OF INTER REGIONAL TRANSFER CAPACITY.

CERC vide order dated 17.03.2010 in the matter rate of Congestion charge in real time operation in inter-State transmission of electricity decided the rate of congestion charges in the event of congestion of Inter Regional Links due to variation of drawal / generation.  The operating part of the order is reiterated hereunder :-

22. 	In view of the discussion in the foregoing paragraphs, we find that there is no objection to the proposed rate of congestion charge. Therefore, based on the rationale given in our order dated 8.1.2010, the following directions are issued:

(a) 	The rate of congestion charge has been fixed at a rate higher than the difference between maximum UI charge and UI charge at 50 Hz which is expected to serve as deterrent against over drawal by the regional entities at a frequency below 50 Hz through a congested transmission corridor and to incentivize the utilization of all generation on liquid fuel in the over-drawing Region/State, if any, thus relieving congestion

.

(b) 	The maximum UI charge is Rs.7.35 and UI charge at 50 Hz is Rs. 1.92 per kWh and the difference works out to Rs. 5.43/ kWh. Accordingly, we direct that congestion charge be fixed at Rs. 5.45/kWh which will be applicable to all regions. The levy of congestion charge shall come into force with immediate effect and shall remain in force till further order of the Commission.

(c) 	At frequency below 50 Hz, congestion charge would be levied for overdrawal in the importing control area and at frequencies above 50Hz, congestion charge would be levied for under-drawal in the exporting control area.

(d) 	No congestion charge shall be levied for congestion in a transmission corridor, if the power flow on the corridor is as per the schedule, but the congestion has been caused by forced outages of a line in the corridor, which occurs after the drawal schedule has been fixed.

(e) 	Such contingencies would have to be tackled through emergency instructions by the concerned SLDCs / RLDCs / NLDC to the concerned regional entities in order to relieve the congestion on the considerations of grid security.

The congestion charges levied or paid by the RLDC has to be apportioned among the utilities involved in intra state ABT namely BRPL, BYPL, NDPL, NDMC, MES, IP, RPH, GT, PPCL, BTPS or any other Intrastate ABT Utility.  The quantum of congestion charges would be derived from the over drawal / underdrawal of distribution utilities and over generation / under generation of the generating utilities during the period of congestion charges imposed by RLDC. The adjustment would be done on the same way as that of UI account to match with the congestion charges imposed by RLDC.  The settlement of congestion charges would also be in the same way that of Intrastate UI Account settlement.

A separate account has been opened by SLDC for dealing with the congestion charges. This is also prioritize payment like UI and the paying utilities have to pay the amount within ten (10) days of the bill to the account.

13	Scheduling Procedure for Non Conventional Energy Sources.

In IEGC 2010 version, the issue of scheduling of non conventional energy sources has been addressed.  For clarity, the same is reiterated hereunder :-

5.2	(ii)(u) 	Special requirements for Solar/ wind generators

System operator (SLDC/ RLDC) shall make all efforts to evacuate the available solar and wind power and treat as a must-run station. However,  System operator may instruct the solar /wind generator to back down generation on consideration of grid security or safety of any equipment or personnel is endangered and Solar/ wind generator shall comply with the same.

For this, Data Acquisition System facility shall be provided for transfer of information to concerned SLDC and RLDC

(i) 	SLDC/RLDC may direct a wind farm to curtail its VAr drawl/injection in case the security of grid or safety of any equipment or personnel is endangered.

(ii) 	During the wind generator start-up, the wind generator shall ensure that the reactive power drawl (inrush currents incase of induction generators) shall not affect the grid performance

1.4(i)v) Part 6: Scheduling and Despatch Code

This section deals with the procedure to be adopted for scheduling and Despatch of generation of the Inter-State Generating Stations (ISGS) and scheduling for other transactions through long-term access, medium-term and short-term open access including complementary commercial mechanisms, on a day-ahead and intra-day basis with the process of the flow of information between the ISGS, National Load Despatch Centre (NLDC), Regional Load Despatch Centre (RLDC), Power Exchanges and the State Load Despatch Centres (SLDCs), and other concerned persons.

Most of the wind and solar energy sources are presently connected and in future are likely to be connected to the STU or the State’s distribution utility. However, keeping in view the variable nature of generation from such sources and the effect such variability has on the inter- state grid, and in view of the large-scale integration of such sources into the grid envisaged in view of the Government of India’s thrust on renewable sources of energy, scheduling of wind and solar energy sources has been incorporated in this Code.

6.2 Objective

This code deals with the procedures to be adopted for scheduling of the net

injection / drawals of concerned regional entities on a day ahead basis with the modality of the flow of information between the NLDC / RLDCs / SLDCs/Power Exchange and regional entities. The procedure for submission of capability declaration by each ISGS and submission of requisition / drawal schedule by other regional entities is intended to enable RLDCs to prepare the dispatch schedule for each ISGS and drawal schedule for each regional entity. It also provides methodology of issuing real time despatch/drawal instructions and rescheduling, if required, to regional entities along with the commercial arrangement for the deviations from schedules, as well as, mechanism for reactive power pricing. This code also provides the methodology for rescheduling of wind and solar energy on three (3) hourly basis and the methodology of compensating the wind and solar energy rich State for dealing with the variable generation through a Renewable Regulatory charge. For this, appropriate meters and Data Acquisition System facility shall be provided for accounting of UI charges and transfer of information to concerned SLDC and RLDC.

3 . 	Special dispensation for scheduling of wind and solar generation

(i) 	With effect from 1.1.2011 Scheduling of wind power generation plants would have to be done for the purpose of UI where the sum of generation capacity of such plants connected at the connection point to the transmission or distribution system is 10 MW and above and connection point is 33 KV and above, and where PPA has not yet been signed. For capacity and voltage level below this, as well as for old wind farms ( A wind farm is collection of wind turbine generators that are connected to a common connection point) it could be mutually decided between the Wind Generator and the transmission or distribution utility, as the case may be, if there is no existing contractual agreement to the contrary . The schedule by wind power generating stations may be revised by giving advance notice to SLDC/RLDC, as the case may be.  Such revisions by wind power generating stations shall be effective from 6th time-block ,the first being the time –block in which notice was given. There may be maximum of 8 revisions for each 3 hour time slot starting from 00:00 hours during the day.

(ii). 	The schedule of solar generation shall be given by the generator based on availability of the generator, weather forecasting, solar insolation, season and normal solar generation curve and shall be vetted by the RLDC in which the generator is located and incorporated in the inter-state schedule. .. If RLDC is of the opinion that the schedule is not realistic , it may ask the solar generator to modify the schedule.

(iii) 	Concerned RLDC and SLDC shall maintain the record of schedule from renewable power generating stations based on type of renewable energy sources i.e wind or solar from the point of view of grid security. While scheduling generating stations in a region, system operator shall aim at utilizing available wind and solar energy fully

Complementary Commercial Mechanisms

1	The sum of the above two charges from all beneficiaries shall fully

reimburse the ISGS for generation according to the given dispatch schedule. In case of a deviation in actual generation from the dispatch schedule, the concerned ISGS shall receive or shall pay in accordance with UI regulation of CERC. Similarly, the deviation of actual drawl by any regional entity from the net drawl schedule shall be treated as UI. All 15-minute energy figures (net scheduled, actually metered and UI) shall be rounded off to the nearest 0.01 MWh. The UI charges and the modalities of settlement of UI shall be in accordance with UI Regulation of CERC .

3	Wind energy being of variable nature, needs to be predicted with reasonable accuracy for proper scheduling and dispatching of power from these sources in the interconnected system. Hence wind generation forecasting is necessary for increased penetration. Wind generation forecasting can be done on an individual developer basis or joint basis for an aggregated generation capacity of 10 MW and above connected at a connection point of 33 kV and above. If done jointly, the wind forecasting facility shall be built and operated by wind developers in the area and sharing of the cost shall be mutually discussed and agreed.

4	The wind energy forecasting system shall forecast power based on wind flow data at the following time intervals:

i) 	Day ahead forecast: Wind/ power forecast with an interval of 15 minutes for the next 24 hours for the aggregate Generation capacity of 10 MW and above.

ii) 	The schedule by such wind power generating stations supplying interstate power under long–term access and medium-term and short-term open access may be revised by giving advance notice to RLDC. Such revisions by wind power generating stations shall be effective from 6th time-block ,the first being the time –block in which notice was given. There may be maximum of 8 revisions for each 3 hour time slot starting from 00:00 hours during the day.

5. 	The wind generators shall be responsible for forecasting their generation upto an accuracy of 70%. Therefore, if the actual generation is beyond +/- 30% of the schedule, wind generator would have to bear the UI charges. For actual generation within +/- 30% of the schedule, no UI would be payable/receivable by Generator, The host state , shall bear the UI charges for this variation, i.e within +/- 30%. However, the UI charges borne by the host State due to the wind generation, shall be shared among all the States of the country in the ratio of their peak demands in the previous month based on the data published by CEA, in the form of a regulatory charge known as the Renewable Regulatory Charge operated through the Renewable Regulatory Fund (RRF). This provision shall be applicable with effect from 1.1.2011,for new wind farms with collective capacity of 10 MW and above connected at connection point of 33 KV level and above , and who have not signed any PPA with states or others as on the date of coming into force of this IEGC. Illustrative calculations in respect of above mechanism are given in Appendix.

6. 	A maximum generation of 150% of the schedule only, would be allowed in a time block, for injection by wind, from the grid security point of view. For any generation above 150% of schedule, if grid security is not affected by the generation above 150%,, the only charge payable to the wind energy generator would be the UI charge applicable corresponding to 50- 50.02 HZ .

7. 	In case of solar generation no UI shall be payable/receivable by Generator. The host state , shall bear the UI charges for any deviation in actual generation from the schedule. However, the net UI charges borne by the host State due to the solar generation, shall be shared among all the States of the country in the ratio of their peak demands in the previous month based on the data published by CEA , in the form of regulatory charge known as the Renewable Regulatory Charge operated through the Renewable Regulatory Fund as referred to in clause 5 above.. This provision shall be applicable ,with effect from 1.1.2011, for new solar generating plants with capacity of 5 MW and above connected at connection point of 33 KV level and above and , who have not signed any PPA with states or others as on the date of coming into force of this IEGC. Illustrative calculations in respect of above mechanism are given in Appendix.

9. 	NLDC shall prepare, within one month of notification of these regulations, a detailed procedure for implementation of the mechanism of Renewable Regulatory Fund and submit the same for approval by the Commission.

A. 	Illustrative examples for commercial settlement for Wind Generation

(WG) (Reference – Para 5 of Annexure-I of the IEGC) The commercial settlement procedure is explained below:

Case 1: Actual as per generation schedule

| Schedule (MW) | Actual Generation (MW) | Implication on purchaser | Unscheduled Interchanged (UI |
| --- | --- | --- | --- |
|  |  |  | Implication on host state | Implication on wind generator |
| 100 | 100 | Purchaser to pay Wind Generator for 100MW at contracted rate | No implication on host state. | No implication on wind generator |

Case 2: Under Injection by the Wind Generator within 30% variation

| Schedule (MW) | Actual Generation (MW) | Implication on purchaser | Unscheduled Interchanged (UI |
| --- | --- | --- | --- |
|  |  |  | Implication on host state | Implication on wind generator |
| 100 | 70 | Payment to be made by purchaser for 70MW (as per actual) at contracted rate and for 30MW to Renewable Regulatory Fund (RRF) at UI rate of his region. | For 30MW UI liability on the host state, as a result of under generator by the Wind Generator embedded in the State System, the same shall be received by the host State from the RRF | No implication on Wind Generator |

Case 3: Under Injection by the Wind Generator beyond 30% variation

| Schedule (MW) | Actual Generation (MW) | Implication on purchaser | Unscheduled Interchanged (UI |
| --- | --- | --- | --- |
|  |  |  | Implication on host state | Implication on wind generator |
| 100 | 60 | To pay for 70MW to Wind Generator (since, in this range, the Wind Generator comes under UI mechanism) at contracted. 30MW by purchase at UI rate in his Region, to RRF | Out of 40MW liability of UI on Host Sate on account of under generation by Wind Generator, UI for 30MW shall be received by the Host State from RRF and UI for 10Mw would be received from the UI pool. | UI rate for 10MW payable by Wind Generator to UI Pool. |

Case 4: Over Injection by the Wind Generator within 30% variation

| Schedule (MW) | Actual Generation (MW) | Implication on purchaser | Unscheduled Interchanged (UI |
| --- | --- | --- | --- |
|  |  |  | Implication on host state | Implication on wind generator |
| 100 | 130 | To pay for 130MW to Wind Generator at contracted rate. Purchaser shall receive payment for 30MW from RRF at UI rate of his region. | For 30MW, UI benefit for the Host State on account of over generation by wind Generator to be passed on to the RRF | No implication on Wind Generator. |

Case 5: Over Injection by the Wind Generator from 130% to 150% generation (as compared to schedule)

| Schedule (MW) | Actual Generation (MW) | Implication on purchaser | Unscheduled Interchanged (UI |
| --- | --- | --- | --- |
|  |  |  | Implication on host state | Implication on wind generator |
| 100 | 140 | To pay for 130MW at contracted rate. Purchaser shall receive payment for 30MW from RRF at UI rate on his region. | For 40MW, UI benefit for the Host State on account of over generation by Wind Generator, UI for 30MW to be passed on to the RRF and UI for 10MW to be passed to UI pool. | UI for 10MW to be received from UI pool |

Case 6: Over Injection by the Wind Generator beyond 150% variation (as compared to schedule)

| Schedule (MW) | Actual Generation (MW) | Implication on purchaser | Unscheduled Interchanged (UI |
| --- | --- | --- | --- |
|  |  |  | Implication on host state | Implication on wind generator |
| 100 | 160 | To pay for 130MW at contracted rate. Purchaser shall receive payment for 30MW from RRF at UI rate of his region. | For 60MW benefit for the Host State from UI Pool on account of higher generation by Wind, UI for 30MW to be passed on to RRF and UI for 3.MW to be passed on to UI Pool. | UI for 20MW to be received by Wind Generator from UI Pool at the UI rate applicable at that particular time and for 10MW UI to be received by Wind Generator from UI Pool at the UI rate applicable for frequency interval below 50.02Hz and not below 50.00Hz. |

Note:

(1) 	For all of the above scenarios, the UI rate shall be the normal UI rate applicable at that particular time block except in case 6 i.e. for over injection

beyond 50 %. In this case the wind generator shall get UI for injection beyond 50% of the schedule at the UI rate applicable for frequency interval below 50.02 and not below 50.00 Hz, in accordance with the CERC (Unscheduled Interchange Charges and related matters Regulations,2009, as amended from time to time.

(2) 	The balance in the Renewable Regulatory Fund (RRF) on account of UI by the wind generators in all states, whether surplus or deficit, shall be shared by all the states of India in the ratio of their peak demands in the previous month. The RRF shall be operated by the NLDC on a national basis.

(3) 	For all cases above it is assumed that Purchasers drawal is as per schedule.

B. 	Illustrative examples for commercial settlement for Solar Generation (Reference – Para 7 of Annexure-I of the IEGC)

Solar generator to give schedule to the concerned SLDC and RLDC. Purchasing state to pay to solar generator at contracted rate for whatever power is generated by the solar generation. Remaining under drawal / over-drawal to be settled in UI mechanism and RRF.

Case 1: Actual as per generation schedule

| Schedule (MW) | Actual Generation (MW) | Implication on purchaser | Unscheduled Interchanged (UI |
| --- | --- | --- | --- |
|  |  |  | Implication on host state | Implication on Solar generator |
| 5 | 5 | Purchaser to pay Solar Generator for 5MW at contracted rate | No implication on Host State. | No implication Solar Generator |

Case 2: Under Injection by the Solar Generator

| Schedule (MW) | Actual Generation (MW) | Implication on purchaser | Unscheduled Interchanged (UI |
| --- | --- | --- | --- |
|  |  |  | Implication on host state | Implication on Solar generator |
| 5 | 4 | Payment to be made by purchaser for 4MW (as per actual) at contracted rate and for 1MW to RRF at UI rate | For 1MW, UI liability on the Host State, as a result of under generation by the Solar Generator embedded in the State System, the same shall be received by the Host State from RRF at UI rate. | No implication on Solar Generator. |

Case 3: Over Injection by the Solar Generator

| Schedule (MW) | Actual Generation (MW) | Implication on purchaser | Unscheduled Interchanged (UI |
| --- | --- | --- | --- |
|  |  |  | Implication on host state | Implication on Solar generator |
| 5 | 6 | To pay for 6MW to Solar Generator at contracted rate. Purchaser shall receive payment for 1MW from RRF at contracted rate. | For 1Mw, UI benefit for the Host State on account of over generation by Solar Generator be passed on to RRF at UI rate. | No implication on Solar Generator. |

Since IEGC is binding on all Stakeholders in Power Sector, the above methodology shall be adopted in Intrastate level.

14	The Accounting methodology of renewable energy sources was discussed in the meeting chaired by Director (Operations), DTL at SLDC on 06.04.2010.  The accounting methodology proposed as per the decision is as under :-

3	Accounting of Energy being generated from renewable energy sources.

After detailed discussions, the following has been finalized :

i)	ABT Meters at generation points will be installed by the Distribution

utility, installing the Renewable energy sources. The meters shall be jointly tested and sealed by DTL and the utility.

- Metering Deptt. of DTL will download the data from these meters weekly as being done for all other boundary meters and downloaded data will be provided to SLDC.

- Since, as per CERC Regulations, all the renewable energy power plants are ‘MUST RUN” plants, the scheduling is to be done on post facto basis as per the actual generation.

- No transmission losses or transmission charges will be applicable and actual ex-bus generation will be considered as schedule and actual energy.

v)	Energy accounting of Renewable Energy shall be done as under :

- Generating Station is installed by the distribution utility in

its own area -  Energy generated from these plants will not be considered in the UI Bill calculation. However, SLDC will indicate the energy generated from these sources in the monthly State Energy Account as per the downloaded data of DTL, once the data of entire month is received.

- Generating Station is installed by the distribution utility in

other distribution utility’s area – The energy made available in 15 minutes time block would be adjusted as energy available to the distribution utility from these sources and accordingly added in the scheduled energy. The same quantum of energy would be added to the actual energy of the distribution utility, in whose area the plant have installed, to arrive the drawl of the utility from the grid. This schedule and actual energy will be considered in the UI Bill accounting.

These adjustments would be done on post facto basis.

The above mentioned procedure is applicable only for the renewable energy generating sources installed by the distribution utilities or renewable energy purchased by distribution utility from third party and not for the ‘Roof Top Solar Plants’ to be installed by the consumers.