|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) Office of Dy. General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149 FAX No.23221012 |
| --- | --- |
| No. F.DTL/207/09-10/DGM(SO)/106 | Dated : 21.04.2009 |

Subject  : 	Supplementary agenda for 3rd Grid Coordination Committee Meeting to be held on 23.04.2009 at 11.00hrs. in the Conference Hall of Badarpur Thermal Power Station.

Dear Sir,   /  महोदय

DTL has proposed additional agenda for the meeting. Copies are enclosed for ready reference.

GCC may deliberate on the issues.

Thanking you,

भवदीय   /  Yours faithfully

Encl. As above.

(वी.वेणुगोपाल)/(V. Venugopal )

(उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

Convener (GCC)

List of addresses

| 01 | Sh. A. K. Kaul, Director (Operations), Chairman, GCC. Delhi Transco Ltd., 1st floor, Shakti Sadan Building, Kotla Road, New Delhi-110002, Office-Phone- 011-23232715, Fax : 23232721 |
| --- | --- |
| 02 | Sh. B. B. Sharma, General Manager (O&M), Delhi Transco Limited, 220kV Parkstreet S/stn Building, Opp. Talkatora Stadium, Near RML Hospital, Park Street, New Delhi-1, Office Phone - 011-23366462 Fax: 011-23366160 |
| 03 | Sh. B. D. Prasad General Manager (Commercial), Delhi Transco Ltd, IP Estate Building, New Delhi-110002 |
| 04 | Sh. Raj Bhartiya General Manager (Planning), Shakti Deep Building, Jhandewalan, Delhi-110055 |
| 05 | Sh. B. C. Mathur General Manager (SLDC), SLDC Delhi SLDC Building, 33kV Grid S/Stn, Minto Road, New Delhi-110002, Phone Office:011-23221091, Fax:011-23221069 |
| 06 | Sh. V. K. Agrawal, General Manager (NRLDC), 18-A, SJSS Marg, New Delhi-16, Office Phone : 011-26537351, Fax: 011-26852747 |
| 07 | Sh. S. R. Narsimhan, Chief Manager (Tech Services), NRLDC, 18-A, SJSS Marg, New Delhi-16, Office Phone: 011-26854585. Fax-26852747 |

| 08 | Sh. Viney Kumar, Director(Tech), IPGCL, Himadri Building, Rajghat Power House, New Delhi-2. Office Phone : 011-23273544 Fax: 011-23270590 |
| --- | --- |
| 09 | Sh. Sunil Kakkar, DGM (PMG), BRPL PMG Office, 3rd Floor, BSES Bhawan, No. 20, Nehru Place, New Delhi – 110019. Phone Office: 011- 39996052, Fax: 011- 39996055 |
| 10 | Sh. R. Pillai, HOD(PSC&AM), NDPL Shakti Nagar District Office, Nangia Park, New Delhi. Phone Office: 011- 66111401 Fax: 011- 66111406 |
| 11 | Sh. K. Sheshadri, AVP(SO), BSES SCADA Control Room, 33 kV Balaji Grid, Behind NIIT, Balaji Estate, Kalkaji, New Delhi – 110019. Office: 011- 39996549 Fax: 011- 39996551 |
| 12 | Sh. V. N. Choudhary, General Manager, NTPC, Badarpur BTPS, New Delhi-44 Office Phone: 011- 26949523, Fax: 011- 26949532 |
| 13 | Col. C. Stephens, CWE, CWE (Utilities), MES, Delhi Cantt, New Delhi – 110010. Phone Office: 011- 25692364 Fax: 011- 25687850 |
| 14 | Sh. R. R. Singh Chief Engineer (Elect),NDMC Room No. 1701, 17th Floor, Palika Kendra, Sansad Marg, New Delhi-110001 Mobile 9818507832 |

Copy for favour of kind information to :-

  - Secretary, DERC, Viniyamak Bhawan, C-Block, Shivalik, New Delhi-17

  - Chairman and Managing Director, DTL

  - Chairperson, New Delhi Municipal Council,Palika Kendra,Sansad Marg, New Delhi

  - CEO, BSES Rajdhani Power Ltd, BSES Bhawan, Nehru Place, New Delhi-110019

  - CEO, BSES Yamuna Power Ltd, Shakti Kiran Building, Karkardooma, New Delhi-92

  - CEO, North Delhi Power Ltd, 33kV Grid S/Stn, Hudson Lane, Kingsway Camp, Delhi-110009

  - Chief Engineer(Utilities),CWE, MES, Kotwali Road, Near Gopi Nath Bazar, Delhi Cantt  New Delhi-10

  - Managing Director, Indraprastha Power Generation Company Ltd (Genco) / Pragati Power Corporation Ltd (PPCL), Himadri, Rajghat Power House, New Delhi-110002

Sub: Replacement of old  CVT, PT & CTs of various voltage levels.

In DTL some substations such as  Mehrauli, Patparganj , Okhla , Najafgarh, Narela are very old. There are 220kV/66kV CVT & PT & CTs of different make have been out lived its useful life . All these equipment have to be replaced in phased manner during    FY   09-10.

& 10-11  for smooth functioning.(details as Annex.I & Annex II)

The details of equipment along with  tentative cost are given below:

I 	220kV, 66kV,& 33kV Current Transformers

S. No.					Qty.		         Amt../(in Lakh)

1          220kV CT			162 			407.50

2	 66 kV  CT			119 			  74.70

3	 33 kV  CT			    3			     1.5

___			______

Total				284			483.70

____			______

II	220 kV, 66 kV Capacitive voltage  Transformers/Potential     Transformers

S. No.					Qty.		         Amt../(in Lakh)

1	220 kV CVT/PT		89			285.45

2	  66 kV CVT/PT		27         		  30.55

___			______

Total				116			316.00

___			______

Thus Total  284 No CTs & 116 No CVT/PT of different ratio have to be replaced during Two Years. Total tentative cost comes to RS.799.70 Lakhs.

Beneficiaries are requested to kindly consent the proposal to replace the CTs, PTs and CVTs for smooth functioning of the system. The tariff would be as per DERC regulations in this regard.

Annexure -II

Replacement of old / out dated Equipments

CVT & PT under O&M circle

Rs in lacs

| Sl. No. | Name of the S/STN | Description of material | specification & Make | date/year of energiation | Qty | Retiring/replacement of assets |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 2007-08 | 2008-09 | 2009-10 | 2010-11 |
|  |  |  |  |  |  | Qty | Amt | Qty | Amt | Qty | Amt | Qty | Amt |
| 1 | 220KV S/STN NRL | 220KV/110V, CVT | MICAFIL | 1973 | 27 |  |  | 9 | 27 | 9 | 29.25 | 9 | 31.5 |
|  | -----do------ | 220KV/110V ,PT | BALTEW/ VEX220 | 1973 | 6 |  |  |  |  | 3 | 14 | 3 | 10.5 |
|  | -----do------ | 66KV/110, CVT | WH | 1980 | 6 |  |  | 3 | 4 | 3 | 4.15 |  |  |
|  | -----do------ | 66KV/110, CVT | AE | 1982 | 3 |  |  |  |  |  |  | 3 | 4.4 |
| 2 | 220KV S/STN NJF | 220KV/110V, CVT | MICAFIL | 1978 | 12 |  |  | 3 | 9 | 3 | 9.75 | 3 | 10.5 |
| 3 | 220KV S/STN MLI | 220KV CVT |  | 1983 | 14 | 3 | 9.15 | 3 | 9.15 | 6 | 18.3 | 2 | 6.1 |
|  | -----do------ | 220KV PT |  | 1982 | 9 |  |  | 3 | 9.15 | 3 | 9.15 | 3 | 9.15 |
|  | -----do------ | 66KV CVT |  | 1983 | 9 | 3 | 2.4 | 3 | 2.4 | 3 | 2.4 |  |  |
|  | -----do------ | 66KV PT |  | 1982 | 9 | 3 | 3.6 | 3 | 3.6 | 3 | 3.6 |  |  |
| 4 | 220KV S/S PPG | 220KV CVT | MICAFIL/VELTEU | 1974 | 21 |  |  |  |  | 21 | 64.05 |  |  |
|  |  |  | TOTAL |  | 116 | 9 | 15.15 | 27 | 64.3 | 54 | 154.65 | 23 | 72.15 |

Annexure -I

Replacement of old / out dated Equipments

CT under O&M circle

| Sl. No. | Name of the S/STN | Description of material | specification & Make | Date/year of energisation | Qty | Retiring/replacement of assets |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | 2007-08 | 2008-09 | 2009-10 | 2010-11 |
|  |  |  |  |  |  | Qty | Amt | Qty | Amt | Qty | Amt | Qty | Amt |
| 1 | 220KV S/STN NRL | 220KV CT | 600-300/1/1/1 Asia/HBB/BHEL | 1974 | 42 |  |  | 12 | 45 | 15 | 56.25 | 15 | 56.25 |
|  | -----do------ | 66KV CT | 1000-500 | 1980-82 | 21 |  |  | 6 | 3.9 | 9 | 5.85 | 6 | 3.9 |
|  | -----do------ | 66KV CT | 800-400/1/1/1 | 1980-82 | 15 |  |  | 6 | 3.9 | 9 | 5.85 |  |  |
|  | -----do------ | 66KV CT | 400-200 | 1980-82 | 12 |  |  |  |  |  |  | 12 | 7.8 |
| 2 | 220KV S/STN NJF | 220KV CT | 600-300/1/1/1 HBB/BHEL | 1975-89 | 27 |  |  |  |  | 9 | 33.75 | 9 | 33.75 |
| 3 | 220KV S/STN RHN | 66KV CT | 400-200 |  | 3 |  |  | 3 | 1.95 |  |  |  |  |
| 4 | 220KV S/S PK.ST. | 66KV CT | 800-400/1/1/1 | 1982 | 8 |  |  |  |  | 5 | 3.25 | 3 | 1.95 |
|  | -----do------ | 66KV CT | 400-200/1/1/1 | 1982 | 7 |  |  |  |  |  |  | 7 | 4.55 |
|  | -----do------ | 33KV CT | 800-400/1/1/1 | 1982 | 3 |  |  |  |  |  |  | 3 | 1.5 |
| 5 | 220KV S/STN MLI | 220KV CT | 600-300/1/1/1 Asia/HBB/BHEL | 1982 | 24 | 3 | 11.25 | 3 | 11.25 | 9 | 33.75 | 9 | 33.75 |
|  | -----do------ | 66KV CT | 800-400/1/1/1 | 1982 | 47 | 6 | 3.6 | 9 | 5.4 | 24 | 14.4 | 8 | 4.8 |
| 6 | 220KV S/S OKHLA | 220KV CT | 600-300/1/1/1 Asia/HBB/BHEL | 1984 | 16 |  |  |  |  | 8 | 30 | 8 | 30 |
| 7 | 220KV S/S PRAGATI | 220KV CT | 600-300/1/1/1 BHEL | 1985 | 18 |  |  |  |  | 9 | 33.75 | 9 | 33.75 |
| 8 | 220KV PPG | 220KV CT | BHEL/NAGPUR/HBB/ASEA | 1976/80/84/74 | 35 |  |  |  |  | 35 | 131.25 |  |  |
|  | -----do------ | 66KV CT |  | 1981-82 | 6 |  |  |  |  | 6 | 3.6 |  |  |
| Total (Rs in lacs) | 284 | 9 | 14.85 | 39 | 71.4 | 138 | 351.7 | 89 | 212 |