|  | पंजीकृत कार्यालय :शक्ति सदन, कोटला रोड़, न्यू दिल्ली-110002 (Regd. Office Shakti Sadan, Kotla Road, New Delhi-110002) कार्यालय उपमहाप्रबंधक (एस.ओ.) (Office of Dy General Manager (SO) एस एल डी सी बिल्डिंग, मिंटो रोड़, न्यू दिल्ली-110002 SLDC Building, Minto Road, New Delhi-110002 Ph: 23221149 FAX No.23221012 |
| --- | --- |
| No. F./DTL/207 /DGM(SO)/08-09/140 | Date: 21.05.2009 |

- General Manager (O&M), DTL

- General Manager (Comml.), DTL

- Director (Commercial), NDMC

- General Manager (BTPS)

- General Manager, GT

- General Manager, RPH

- General Manager, IP

- General Manager, Pragati

- General Manager (Comml.)NTPC, Noida

- Sr. Vice President, BSES Rajdhani Power Ltd. BSES Bhawan, Nehru Place, N.D.-19

- Garrison Engineer (Utilities), MES

- Addl. Vice President (SO), BSES

- Dy. G.M. (M&P), DTL

- Dy. G.M. (PMG), BRPL

- Dy. G.M. (PMG), BYPL

- Manager (PMG)-NDPL

- Manager (SO)-Shift, SLDC

- HoG(System Operation), NDPL

- Executive Engineer (SO), NDMC

Subject : 	Additional Agenda for the Meeting proposed to be held at 11.00hrs. on 26.05.2009 at SLDC.

Dear Sir,

This is continuation to our letter no. No. F./DTL/207 /DGM(SO)/08-09/139 dated. 20.05.2009 through which main agenda for the meeting was forwarded.

It is proposed to discuss the following items also in this meeting.

SLDC vide letter no. F/DTL/207/DGM(SO)/9-10/114 dated 8.5.2009 has forwarded the computation of the availability of transmission system of Delhi Transco Limited for the year 2008-9. The transmission system availability achieved by Delhi Transco Limited by the year 2008-9 is 98.78% (as detailed hereunder)

| AVAILABILITY OF DELHI TRANSCO LIMITED SYSTEM FOR THE YEAR 2008- 09 |
| --- |
| Sl. No. | Name of Elements | Availability in %age |
| 1 | AVAILABILITY OF 8NOS. 400kV, 315MVA ICTs | 80.02% |
| 2 | AVAILABILITY OF 6NOS. 400kV LINES | 98.70% |
| 3 | AVAILABILITY OF 67NOS. 220kV LINES | 99.03% |
| 4 | AVAILABILITY OF 44NOS. 220/66kV ICTs | 97.99% |
| 5 | AVAILABILITY OF 25NOS. 220/33kV ICTs | 89.28% |
| 6 | AVAILABILITY OF 3NOS. 66/33kV ICTs | 99.38% |
| 7 | AVAILABILITY OF 26NOS. 66/11kV PR. TXS | 99.75% |
| 8 | AVAILABILITY OF 16NOS. 33/11kV PR. TXS | 99.63% |
| 9 | AVAILABILITY OF 88NOS. 66kV FEEDER BAYs | 99.76% |
| 10 | AVAILABILITY OF 94NOS. 33kV FEEDER BAYs | 99.90% |
| 11 | AVAILABILITY OF 204NOS. 11kV SYSTEM | 99.99% |
| 12 | AVAILABILITY OF 56NOS. CAP. BANKS | 97.46% |
| TOTAL AVAILABILITY OF DTL SYSTEM = (80.02*8+98.70*6+99.03*67+97.99*44+89.29*25+99.38*3+99.75*26+99.63*16+99.76*88+99.90*94+99.99*204+97.46*56) = 98.78% 8+6+67+44+25+3+26+16+88+94+204+56 |

The following new elements commissioned during the year 2008-09

| Sl. No. | Name of Element | Date of commissioning |
| --- | --- | --- |
| 1 | 33kV Sekhawati Ckt at Naraina | 10.05.2008 at 17:12Hrs. |
| 2 | 220kV Sarita Vihar - Maharani Bagh Ckt | 12.05.2008 at 12:45Hrs. |
| 3 | 220kV Pragati - Maharani Bagh Ckt | 12.05.2008 at 12:45Hrs. |
| 4 | 220/66kV 160MVA Pr. Tx at 220kV Pragati S/stn | 28.12.2008 at 12:28 Hrs. |
| 5 | 220/66kV 100MVA Pr. Tx-IV at 220kV South of Wazirabad S/stn | 07.01.2009 at 17:35 Hrs. |
| 6 | 220kV Bawana - Bawana DSIIDC Ckt-I | 07.03.2009 at 11:25 Hrs. |
| 7 | 220kV Bawana - Bawana DSIIDC Ckt-II | 07.03.2009 at 11:25 Hrs. |
| 8 | 220kV Bawana DSIIDC - Narela Ckt-I | 07.03.2009 at 11:25 Hrs. |
| 9 | 220kV Bawana DSIIDC - Narela Ckt-II | 07.03.2009 at 11:25 Hrs. |
| 10 | 220/66kV 100MVA Pr. Tx-III at 220kV Bawana DSIIDC S/stn | 07.03.2009 at 12:05 Hrs. |
| 11 | 66/11kV 20MVA Pr. Tx.-II at 220kV Bawana DSIIDC S/stn | 07.03.2009 at 13:32 Hrs. |

The above computation is based on the outage data provided by DTL, load shedding occurred in distribution licencees’ areas due to outage of   transmission elements of DTL as provided by Distribution licencees, Generation loss occurred due to outage of transmission elements as computed by SLDC as Generating stations have not provided the information.

SLDC has not received any comments on the above so far.  As such it is assumed that the above mentioned figures are acceptable.

However, the above is also included for discussions in the meeting proposed to be held on 26.05.2009 at 11.00hrs. in the conference hall of SLDC at 330kV Grid S/stn SLDC Building, Minto Road, New Delhi-110002 in this regard.

Thanking you,

भवदीय / Yours faithfully

(वी.वेणुगोपाल)/(V. VENUGOPAL )

उपमहाप्रबंधक (एस.ओ.)/Dy. G. M. (SO)

Copy for favour of kind information to:

      - Secretary, DERC

      - Director (Operations), DTL

      - M. D., IPGCL & PPCL

      - Director (Tech.), IPGCL

      - G.M. (SLDC)

      - Chief Executive Officer, BRPL

      - Chief Executive Officer, BYPL

      - Chief Executive Officer, NDPL

      - Chief Engineer (Utilities), MES